## ITC - O cross ref
Rotary Cam Switches - ITC - O - Cross Reference
| Spreadsheet last updated: | 2020-12-01
NOTE: This Cross-reference table is being continuously updated. Check the latest revision date of the spreadsheet. Please contact ITC if you are in doubt about the ITC part number corresponding to the cam switch you are looking for.
NOTE: The current / voltage ratings appearing in the descriptions of the ITC cam switches in this table are, in general, those referring to motor control applications according to UL/CSA. Ratings may differ, either according to European (IEC) Standards, or to “General Use” per UL/CSA Standards. If you have doubts or questions, contact ITC.
OC Switches
Date | OC Model | ITC Reference | Description
Nov 3 2020 | OC10G01PNBN00NA1 | A1/6ZM/NS | Off-On switch, 2 pos., 1 poles, 10A, Central mount
Nov 3 2020 | OC10G01PNBN00NB1 | A1/6ZM/NS/F915 | Off-On switch, 2 pos., 1 poles, 10A, Central mount
Nov 3 2020 | OC10G02PNBN00NA2 | A2/6ZM/NS | Off-On switch, 2 pos., 2 poles, 10A, Central mount
Nov 3 2020 | OC10G02PNBN00NU1 | U1/6ZM/NS | Changeover switch, 3 pos., 1 poles, 10A, Central mount
Nov 3 2020 | OC10G03KNBN00NA3 | WOC/A3/6ZM/Z32 | Key op. off-On switch, 2 pos., 3 poles, 10A, Central mount
Nov 3 2020 | OC10G03KNBN00NB3 | WOC/A3/6ZM/Z32/F910 | Key op. off-On switch, 2 pos., 3 poles, 10A, Central mount
Nov 3 2020 | OC10G03PNBN00NA3 | A3/6ZM/NS | Off-On switch, 2 pos., 3 poles, 10A, Central mount
Nov 3 2020 | OC10G03PNBN00NSO31 | ST031/6ZM/NS | Selector switch , 4 pos., 1 poles, 10A, Central mount
Nov 3 2020 | OC10G03PNBN00NST31 | ST31/6ZM/NS | Selector switch , 3 pos., 1 poles, 10A, Central mount
Nov 3 2020 | OC10G04KNBN00NA4 | WOC/A4/6ZM/Z32 | Key op. off-On switch, 2 pos., 4 poles, 10A, Central mount
Nov 3 2020 | OC10G04PNBN00NU2 | U2/6ZM/NS | Changeover switch, 3 pos., 2 poles, 10A, Central mount
Nov 3 2020 | OC10G04PNBN00NV3 | WOC/V3/6ZM/NS | Volt-ammeter Switch 10A Central mount
Nov 3 2020 | OC10G05PNBN00NSO51 | WOC/ST051/6ZM/NS | Selector switch , 6 pos., 1 poles, 10A, Central mount
Nov 3 2020 | OC10G06PNBN00NU3 | U3/6ZM/NS | Changeover switch, 3 pos., 3 poles, 10A, Central mount
Nov 3 2020 | OC10G08PNBN00NSO42 | WOC/ST042/6ZM/NS | Selector switch , 5 pos., 2 poles, 10A, Central mount
Nov 1 2020 | OC10G08PNBN00NU4 | WOC/U4/6ZM/NS | Consult ITC
Nov 3 2020 | OC25G01KNBN00NB1 | WOC/A1/8ZM/Z32/F910 | Key op. off-On switch, 2 pos., 1 poles, 16A, Central mount
Nov 3 2020 | OC25G01P1YN00NB1 | WOC162/8ZM/Z20 | Off-On switch, 2 pos., 1 poles, 16A, Central mount
Nov 3 2020 | OC25G01PNBN00NA01 | A1/8ZM/NS/F901 | Off-On switch, 2 pos., 1 poles, 16A, Central mount
Nov 3 2020 | OC25G01PNBN00NA1 | A1/8ZM/NS | Off-On switch, 2 pos., 1 poles, 16A, Central mount
Nov 3 2020 | OC25G01PNBN00NB1 | A1/8ZM/NS/F910 | Off-On switch, 2 pos., 1 poles, 16A, Central mount
Nov 3 2020 | OC25G02PNBN00NA02 | A2/8ZM/NS/F901 | Off-On switch, 2 pos., 2 poles, 16A, Central mount
Nov 3 2020 | OC25G02PNBN00NA2 | A2/8ZM/NS | Off-On switch, 2 pos., 2 poles, 16A, Central mount
Nov 3 2020 | OC25G02PNBN00NB2 | A2/8ZM/NS/F915 | Off-On switch, 2 pos., 2 poles, 16A, Central mount
Nov 3 2020 | OC25G02PNBN00NSEA1 | SEA1/8ZM/NS | Stop-Start switch, 2 pos., 1 poles, 16A, Central mount
Nov 3 2020 | OC25G02PNBN00NU1 | U1/8ZM/NS | Changeover switch, 3 pos., 1 poles, 16A, Central mount
Nov 3 2020 | OC25G02PNBN00NUK1 | WA-SON7199/OC25ZM/NS | Consult ITC
Nov 3 2020 | OC25G02PNBN00NUP1 | WA-SON7189/8ZM/NS | Consult ITC
Nov 3 2020 | OC25G02PNBN00NURR1 | URR1/8ZM/NS | Changeover switch, 3 pos., 1 poles, 16A, Central mount
Nov 3 2020 | OC25G02PNBN00NWS1 | WS1/8ZM/NS | Changeover switch, 3 pos., 1 poles, 16A, Central mount
Nov 1 2020 | OC25G02QNYN00S05GD | WOC104/8E/NR/Z31/1 | Consult ITC
Nov 1 2020 | OC25G02QNYN00S05GE | WOC103/8E/NR/Z31/1 | Consult ITC
Nov 1 2020 | OC25G02QNYN00S07L1 | WOC106/8E/NR/Z31/1 | Consult ITC
Nov 3 2020 | OC25G03PNBN00NSO31 | ST031/8ZM/NS | Selector switch , 4 pos., 1 poles, 16A, Central mount
Nov 3 2020 | OC25G04P3BN00NB4 | A4/8ZM/Z33S | Off-On switch, 2 pos., 4 poles, 16A, Central mount
Nov 3 2020 | OC25G04PNBN00NA4 | A4/8ZM/NS | Off-On switch, 2 pos., 4 poles, 16A, Central mount
Nov 3 2020 | OC25G04PNBN00NSO41 | WOC/ST041/8ZM/NS | Consult ITC
Nov 3 2020 | OC25G04PNBN00NST41 | ST41/8ZM/NS | Selector switch , 4 pos., 1 poles, 16A, Central mount
Nov 3 2020 | OC25G04PNBN00NU2 | U2/8ZM/NS | Changeover switch, 3 pos., 2 poles, 16A, Central mount
Nov 3 2020 | OC25G04PNBN00NURR2 | URR2/8ZM/NS | Changeover switch, 3 pos., 2 poles, 16A, Central mount
Nov 3 2020 | OC25G04PNBN00NV3 | V3/8ZM/NS | Voltmeter switch, 4 pos., poles, 16A, Central mount
Nov 1 2020 | OC25G04PNBN00NWC2 | WOC/WS2/8ZM/NS | Changeover switch, 3 pos., 2 poles, 16A, Central mount
Nov 3 2020 | OC25G04PNBN00NWS2 | WS2/8ZM/NS | Changeover switch, 3 pos., 2 poles, 16A, Central mount
Nov 3 2020 | OC25G06PNBN00NA6 | A6/8ZM/NS | Off-On switch, 2 pos., 6 poles, 16A, Central mount
Nov 3 2020 | OC25G06PNBN00NAU31 | AU31/8ZM/NS | Ammeter switch, 4 pos., 1 poles, 16A, Central mount
Nov 3 2020 | OC25G06PNBN00NB072 | WOC163/8ZM/Z51/NS | Consult ITC
Nov 3 2020 | OC25G06PNBN00NSO32 | ST032/8ZM/NS | Selector switch , 4 pos., 2 poles, 16A, Central mount
Nov 3 2020 | OC25G06PNBN00NST32 | ST32/8ZM/NS | Selector switch , 3 pos., 2 poles, 16A, Central mount
Nov 3 2020 | OC25G06PNBN00NU3 | U3/8ZM/NS | Changeover switch, 3 pos., 3 poles, 16A, Central mount
Nov 3 2020 | OC25G06PNBN00NURR3 | URR3/8ZM/NS | Changeover switch, 3 pos., 3 poles, 16A, Central mount
Nov 3 2020 | OC25G06PNBN00NV30 | V30/8ZM/NS | Voltmeter switch, 7 pos., 3 poles, 16A, Central mount
Nov 3 2020 | OC25G06PNBN00NWS3 | WS3/8ZM/NS | Changeover switch, 3 pos., 3 poles, 16A, Central mount
Nov 3 2020 | OC25G08PNBN00NSO81 | WOC/ST081/8ZM/NS | Selector switch , 9 pos., 1 poles, 16A, Central mount
Nov 3 2020 | OC25G08PNBN00NU4 | U4/8ZM/NS | Changeover switch, 3 pos., 4 poles, 16A, Central mount
Nov 3 2020 | OC25G08PNBN00NWS4 | WS4/8ZM/NS | Changeover switch, 3 pos., 4 poles, 16A, Central mount
Nov 3 2020 | OC25G08PXBN00S01N5 | WA-SON7173/8ZM/X99/NS | Consult ITC
Nov 3 2020 | OC25G09PNBN00NST33 | WOC/ST33/8ZM/NS | Changeover switch, 3 pos., 3 poles, 16A, Central mount
Nov 3 2020 | OC25G10PNBN00NAV12 |  | Volt-Ammeter switch, pos., poles, 16A, Central mount
Nov 3 2020 | OC25G10PNBN00NST10 | WOC/ST101/8ZM/NS | Selector switch , 10 pos., 1 poles, 16A, Central mount
Nov 3 2020 | OC25G12PNBN00NSO62 | WOC/ST062/8ZM/NS | Selector switch , 6 pos., 2 poles, 16A, Central mount
Nov 3 2020 | OC25G12PNBN00NST62 | WOC/ST62/8ZM/NS | Selector switch , 6 pos., 2 poles, 16A, Central mount
Nov 1 2020 | OC25GO4PNBN00NWC2 | WOC/WS2/8ZM/NS | Changeover switch, 3 pos., 2 poles, 16A, Central mount
OL Switches
| OL Model | ITC Reference | Description
Nov 3 2020 | OL12510RBLS1084 |  | Consult ITC
Nov 3 2020 | OL12510RGS11637 | WA-SON1819/100E/Z7/RG | Consult ITC
Nov 3 2020 | OL12510RUBLS108 | WA-SON1897/OL125E/Z7/23/NS/Z1 | Consult ITC
Nov 3 2020 | OL1252RBS14973 | WA-SON2962/OL125E/Z1 | Consult ITC
Nov 3 2020 | OL1252RBS29850 | WA-SON6638/OL125E/NS/Z1 | Consult ITC
Nov 3 2020 | OL1252RGS10699 | WA-SON1700/OL125E/Z7/NS/Z1 | Consult ITC
Nov 3 2020 | OL1256RBS10970 | WA-SON2148/OL125E/Z1 | Consult ITC
Nov 3 2020 | OL1256RGS11638 | WA-SON1821/100E/Z7/RG | Consult ITC
Nov 3 2020 | OL1256RGS11704 | WA-SON1822/OL125E/NS/Z7/Z1 | Consult ITC
Nov 3 2020 | OL1256RGS11913 | WA-SON1892/OL125E/NS/Z7/Z1 | Consult ITC
Nov 3 2020 | OL1257RGS11522 | WA-SON1723/OL125E/NS/Z7/Z1 | Consult ITC
Nov 3 2020 | OL1257RGS12083 | WA-SON2024/OL125E/NS/Z7/Z1 | Consult ITC
Nov 3 2020 | OL1258RBS10971 | WA-SON7270/100E/FS | Consult ITC
Nov 3 2020 | OL1258RBS13739 | WA-SON2540/100E/FS | Consult ITC
Nov 3 2020 | OL1258RGS11642 | WA-SON1823/100/32E/Z7/RG | Consult ITC
Nov 3 2020 | OL1258RGS11643 | WA-SON1824/100/32E/Z7/RG | Consult ITC
Nov 1 2020 | OL125A1RB |  | Off-On switch, 2 pos., 1 poles, 125A, Door mount
Nov 1 2020 | OL125PW36RB |  | Consult ITC
Nov 3 2020 | OL125SO31RB | ST031/125E/Z1 | Selector switch , 4 pos., 1 poles, 125A, Door mount
Nov 1 2020 | OL125U1RB |  | Changeover switch, 3 pos., 1 poles, 125A, Door mount
Nov 3 2020 | OL125U3RB | U3/125E/Z1 | Changeover switch, 3 pos., 3 poles, 125A, Door mount
Nov 3 2020 | OL125U4RB | U4/125E/Z1 | Changeover switch, 3 pos., 4 poles, 125A, Door mount
Nov 1 2020 | OL125UC3RB |  | Consult ITC
Nov 1 2020 | OL125WC1RB |  | Consult ITC
Nov 1 2020 | OL125WS36RB |  | Consult ITC
Nov 1 2020 | OL160PW36RB |  | Consult ITC
Nov 1 2020 | OL160U1RB |  | Consult ITC
Nov 1 2020 | OL160UC3RB |  | Consult ITC
Nov 1 2020 | OL160WC1RB |  | Consult ITC
Nov 1 2020 | OL160WS36RB |  | Consult ITC
Nov 3 2020 | OL2002RGLS10689 | WA-SON1424/200VZ | Consult ITC
Nov 3 2020 | OL2006RBLS10491 | WA-SON1265/200E/Z41/Z1 | Consult ITC
Nov 3 2020 | OL2006RGLS13740 | WA-SON2541/OL200E/NS/Z1 | Consult ITC
Nov 3 2020 | OL2008RGLS12111 | WA-SON2091/OL200E/NS/Z1 | Consult ITC
Nov 1 2020 | OL200A1RB |  | Consult ITC
Nov 1 2020 | OL200PW36RB |  | Consult ITC
Nov 1 2020 | OL200U1RB |  | Changeover switch, 3 pos., 1 poles, 200A, Door mount
Nov 3 2020 | OL200U3RB | U3/200E/Z1 | Changeover switch, 3 pos., 3 poles, 200A, Door mount
Nov 1 2020 | OL200UC3RB |  | Changeover switch, 3 pos., 3 poles, 200A, Door mount
Nov 1 2020 | OL200WC1RB |  | Changeover switch, 2 pos., 1 poles, 200A, Door mount
Nov 1 2021 | OL200WS36RB |  | Consult ITC
Nov 3 2020 | OL4010CZBS16340 | WA-SON3409/32V/Z33/44/F101/X83 | Consult ITC
Nov 3 2020 | OL4010PBS12466 | WA-SON2245/32ZM/Z54/NS | Consult ITC
Nov 1 2022 | OL4010PBS18410 | WA-SON4272/32ZM/NS | Consult ITC
Nov 3 2020 | OL4010PGS13108 | WA-SON2688/32ZM/NS | Consult ITC
Nov 3 2020 | OL4010RBS10912 | WA-SON1153/32ZM/Z20 | Consult ITC
Nov 3 2020 | OL4010RBS11489 | WA-SON2693/32E/Z1 | Consult ITC
Nov 3 2020 | OL4010RBS26527 | WA-SON5895/32E/NS/Z1 | Consult ITC
Nov 3 2020 | OL4010RUBS10805 | WA-SON1825/32E/Z23/HG/Z1 | Consult ITC
Nov 3 2020 | OL4011PLBS10786 | WA-SON1380/32ZM-D1/Z11 | Consult ITC
Nov 1 2023 | OL4012CPBGS1161 |  | Consult ITC
Nov 1 2024 | OL4012CPBGS2718 | WA-SON5935/32VZM/PB/X83/X93 | Consult ITC
Nov 3 2020 | OL4012PBS11098 | WA-SON1511/32ZM/NS | Consult ITC
Nov 1 2025 | OL4012PBS11664 | WA-SON1813/32ZM/NS/X72 | Consult ITC
Nov 3 2020 | OL4012PBS12467 | WA-SON2164/32ZM/NS | Consult ITC
Nov 3 2020 | OL4012PBS15229 | WA-SON3112/32ZM/NS | Consult ITC
Nov 1 2020 | OL4012R5LBS2366 |  | Consult ITC
Nov 3 2020 | OL4012RLBS18170 | WA-SON3866/32E/X72/Z1 | Consult ITC
Nov 1 2020 | OL4014PZYS20607 | WA-SON4541/32ZM/Z20-rot/gelb | Consult ITC
Nov 3 2020 | OL4016PBS15232 | WA-SON7272/32ZM/NS | Consult ITC
Nov 3 2020 | OL4018BPLBS1092 |  | Consult ITC
Nov 3 2020 | OL401EPBS14129 |  | Consult ITC
Nov 3 2020 | OL401PZYS14698 | WA-SON/N1/32ZM/Z33/F910 | Consult ITC
Nov 3 2020 | OL4020PLGS10772 | WA-SON1472/32ZM/Z8/NS | Consult ITC
Nov 3 2020 | OL4020PLGS10774 | WA-SON1473/32ZM/NS | Consult ITC
Nov 1 2020 | OL4020PZBS26309 | WAI307/32ZM/Z20/F101 | Consult ITC
Nov 1 2020 | OL4020PZYS26356 | WA-SON5686/32ZM/Z21 | Consult ITC
Nov 3 2020 | OL4022RGS30679 | WA-SON6840/32E/NS/Z1 | Consult ITC
Nov 1 2020 | OL4024R5LBS2499 |  | Consult ITC
Nov 3 2020 | OL402BPBS13788 | WA-SON2641/32VZM/NS | Consult ITC
Nov 3 2020 | OL402P3BS10843 | WA-SON1438/32ZM/Z33 | Consult ITC
Nov 3 2020 | OL402P3BS12166 | WA-SON2063/32ZM/Z33 | Consult ITC
Nov 3 2020 | OL402P3BS12522 | WA-SON/A2/32ZM/Z33 | Consult ITC
Nov 3 2020 | OL402P3YS10761 | WA-SON2910/32ZM/Z33 | Consult ITC
Nov 3 2020 | OL402P3YS10940 | WA-SON1504/32ZM/Z33 | Consult ITC
Nov 3 2020 | OL402P3YS12293 | WA-SON/A2/32ZM/Z33GB | Consult ITC
Nov 3 2020 | OL402PBS14488 | WA-SON2783/32ZM/Z54/NS | Consult ITC
Nov 3 2020 | OL402PGS11206 | WA-SON1580/32E/HG/Z1 | Consult ITC
Nov 3 2020 | OL402PZBS20003 | WA-SON4293/32ZM/Z20/NS | Consult ITC
Nov 3 2020 | OL403KBS10189 | WA-SON1198/32ZM/Z32/KS | Consult ITC
Nov 3 2020 | OL403P3GS12742 | WA-SON/A3/32ZM/Z33 | Consult ITC
Nov 3 2020 | OL403P3YS12087 | WA-SON2714/32ZM/Z33GB | Consult ITC
Nov 3 2020 | OL403PBS11989 | WA-SON2201/32ZM/NS | Consult ITC
Nov 2 2020 | OL403PLBS18903 | WA-SON4086/32ZM/Z8/54/NS | Consult ITC
Nov 3 2020 | OL403R3LBS31101 | WA-SON6927/32E/Z33S/Z1 | Consult ITC
Nov 3 2020 | OL404BPBS19912 | WA-SON4348/32ZM/NS | Consult ITC
Nov 3 2020 | OL404CPBS16939 | WA-SON3577/32V/Z45/X83 | Consult ITC
Nov 3 2020 | OL404IBS20365 | WA-SON5222/32VZ | Consult ITC
Nov 3 2020 | OL404KBS10660 | WA-SON1338/32ZM/Z32 | Consult ITC
Nov 3 2020 | OL404KBS14876 | WA-SON2992/32ZM/Z32/KS | Consult ITC
Nov 3 2020 | OL404P3BS11068 | WA-SON1607/32ZM/Z33 | Consult ITC
Nov 3 2020 | OL404P3BS11671 | WA-SON2240/32ZM/Z33 | Consult ITC
Nov 3 2020 | OL404P3BS12228 | WA-SON/A4/32ZM/Z33 | Consult ITC
Nov 3 2020 | OL404P3YS10861 | WA-SON1410/32ZM/Z33GB | Consult ITC
Nov 3 2020 | OL404PBS11801 | WA-SON2115/32ZM/NS | Consult ITC
Nov 3 2020 | OL404PBS12425 | WA-SON2296/32ZM/NS/Z54/X72 | Consult ITC
Nov 3 2020 | OL404PBS125CA | WA-ABB1066/32ZM/NS | Consult ITC
Nov 1 2020 | OL404PBS125CA | WA-SON1066/32ZM/NS | Consult ITC
Nov 1 2020 | OL404PBS13847 | WA-SON2857/32ZM/NS/Z54/X72 | Consult ITC
Nov 3 2020 | OL404PBS14896 | WA-SON3113/32ZM/NS | Consult ITC
Nov 1 2020 | OL404PBS18412 | WA-SON4273/32ZM/NS | Consult ITC
Nov 3 2020 | OL404PBS8153 | WA-SON1037/32ZM/NS | Consult ITC
Nov 1 2020 | OL404PGS12270 | WA-SON2219/32/ZM/NS/X72 | Consult ITC
Nov 1 2020 | OL404PGS12270 | WA-SON2219/32ZM/NS/X73 | Consult ITC
Nov 1 2020 | OL404PGS15672 | WA-SON3684/32/ZM/NS/X72/Z54 | Consult ITC
Nov 3 2020 | OL404PGS15672 | WA-SON3684/32ZM/NS/X72/Z54 | Consult ITC
Nov 3 2020 | OL404PZBS10962 | WA-SON1443/32SM | Consult ITC
Nov 3 2020 | OL404R5YS15744 | WA-SON3248/32E/Z35gb/Z55/Z1 | Consult ITC
Nov 3 2020 | OL404RBS30444 | WA-SON6768/32E/NS/Z1 | Consult ITC
Nov 3 2020 | OL404RHLBS29103 | WA-SON6443/32E/Z55/HS/Z1 | Consult ITC
Nov 3 2020 | OL404RHLGS15359 | WA-SON3476/32E/HG/Z1 | Consult ITC
Nov 3 2020 | OL404RLBS21560 | WA-SON4684/32E/NS/Z1 | Consult ITC
Nov 3 2020 | OL404XBS19185 | WA-SON4136/32ZM/X99/NS | Consult ITC
Nov 3 2020 | OL405E3BS11559 | WA-SON6332/32PLM/Z54/33 | Consult ITC
Nov 3 2020 | OL405P3YS11332 | WA-SON1716/32ZM/Z33GB | Consult ITC
Nov 3 2020 | OL405PLBS17767 | WA-SON3780/32ZM/Z8/NS | Consult ITC
Nov 3 2020 | OL405RBS13891 | WA-SON2602/32E/Z1 | Consult ITC
Nov 3 2020 | OL406BPBS19913 | WA-SON4349/32ZM/NS | Consult ITC
Nov 3 2020 | OL406CPBS16935 | WA-SON3578/32V/Z45/X83 | Consult ITC
Nov 3 2020 | OL406IBS20366 | WA-SON5067/32VZ | Consult ITC
Nov 3 2020 | OL406P3RS11646 | WA-SON1840/32ZM/Z33GB | Consult ITC
Nov 3 2020 | OL406PBS10793 | WA-SON1398/32ZM/NS | Consult ITC
Nov 1 2020 | OL406PBS11667 | WA-SON1812/32ZM/NS/X72 | Consult ITC
Nov 1 2020 | OL406PBS12326 | WA-SON2127/32ZM | Consult ITC
Nov 3 2020 | OL406PBS12424 | WA-SON2298/32ZM/NS/X72 | Consult ITC
Nov 1 2020 | OL406PBS19855 | WA-SON4281/32ZM/NS | Consult ITC
Nov 3 2020 | OL406PBS8120 | WA-SON1003/32ZM/Z54/NS | Consult ITC
Nov 3 2020 | OL406PBS8207 | WA-SON1088/32ZM/NS | Consult ITC
Nov 1 2020 | OL406PGS12269 | WA-SON2217/32/ZM/NS/X72 | Consult ITC
Nov 3 2020 | OL406PGS12269 | WA-SON2217/32ZM/NS/X72 | Consult ITC
Nov 1 2020 | OL406PGS12269 | WA-SON2217/32ZM/NS/X73 | Consult ITC
Nov 3 2020 | OL406PGS16009 | WA-SON3293/32ZM/NS/F101 | Consult ITC
Nov 3 2020 | OL406PGS16259 | WA-SON3361/32ZM/NS/F101 | Consult ITC
Nov 2 2020 | OL406PLBS18904 | WA-SON4087/32ZM/NS/Z8 | Consult ITC
Nov 3 2020 | OL406PRS16470 | WA-SON7273/32ZM/Z54/NR/-X70 | Consult ITC
Nov 3 2020 | OL406PYS31186 |  | Consult ITC
Nov 3 2020 | OL406R-2S20118 | WA-SON4319/32E/Z1 | Consult ITC
Nov 3 2020 | OL406RBS12617 | WA-SON2222/32E/Z1 | Consult ITC
Nov 1 2020 | OL406RBS13004 | WA-SON2413/32E/Z55/Z2 | Consult ITC
Nov 3 2020 | OL406RGS10773 | WA-SON1397/32E/HG/Z1 | Consult ITC
Nov 3 2020 | OL406RGS11523 | WA-SON1724/32E/HG/Z1 | Consult ITC
Nov 1 2020 | OL406RLBS18078 | WA-SON3863/32E/NS/Z2 | Consult ITC
Nov 1 2020 | OL406RLBS31809 | WAI311/40E/NS/Z51/1/X72 | Consult ITC
Nov 3 2020 | OL406RYS30844 | WA-SON6865/32E/NR/GB/RY/Z1 | Consult ITC
Nov 3 2020 | OL407RGS11524 | WA-SON1725/32E/HG/Z1 | Consult ITC
Nov 3 2020 | OL407RUBS14064 | WA-SON2652/32E/Z23/Z1 | Consult ITC
Nov 1 2020 | OL408PBS18409 | WA-SON4274/32ZM/NS | Consult ITC
Nov 1 2020 | OL408PGS12268 | WA-SON2265/32/ZM/NS | Consult ITC
Nov 3 2020 | OL408PGS13109 | WA-SON2689/32ZM/NS | Consult ITC
Nov 3 2020 | OL408PZBS19241 | WA-SON4106/32ZM/Z20/NS | Consult ITC
Nov 3 2020 | OL408RGS11705 |  | Consult ITC
Nov 3 2020 | OL408RLBS22030 | WA-SON4853/32E/NS/NS-Z9/Z1 | Consult ITC
Nov 3 2020 | OL409BPYS11808 | WA-SON1841/32VZM/NR/X70GB | Consult ITC
Nov 3 2020 | OL409PBS10792 | WA-SON1361/32ZM/NS | Consult ITC
Nov 3 2020 | OL409PBS10794 | WA-SON1439/32ZM/NS | Consult ITC
Nov 3 2020 | OL409PBS12299 | WA-SON2151/32ZM/NS | Consult ITC
Nov 3 2020 | OL409PGS10782 | WA-SON1415/32ZM/NS | Consult ITC
Nov 3 2020 | OL40A1KBA | A1/32ZM/Z32/F907/S | Key op. off-On switch, 2 pos., 1 poles, 45A, Central mount
Nov 1 2020 | OL40A1PBA | A1/32ZM/NS/F910 | Off-On switch, 2 pos., 1 poles, 45A, door mount mount
Nov 3 2020 | OL40A1PB | A1/32ZM | Off-On switch, 2 pos., 1 poles, 45A, Central mount
Nov 3 2020 | OL40A2KBA | A2/32ZM/Z32/F907/S | Key op. off-On switch, 2 pos., 2 poles, 45A, Central mount
Nov 3 2020 | OL40A2PB | A2/32ZM/NS | Off-On switch, 2 pos., 2 poles, 45A, Central mount
Nov 1 2020 | OL40A2PBA | A2/32ZM/NS/F910 | Off-On switch, 2 pos., 2 poles, 45A, door mount mount
Nov 1 2020 | OL40A2PBA | A2/32ZM/NS/F911 | Off-On switch, 2 pos., 2 poles, 45A, door mount mount
Nov 3 2020 | OL40A2RB | A2/32E/Z1 | Off-On switch, 2 pos., 2 poles, 45A, Door mount
Nov 3 2020 | OL40A3KBA | A3/32ZM/Z32/F907/S | Key op. off-On switch, 2 pos., 3 poles, 45A, Central mount
Nov 3 2020 | OL40A3PB | A3/32ZM/NS | Off-On switch, 2 pos., 3 poles, 45A, Central mount
Nov 1 2020 | OL40A3PBA | A3/32ZM/NS/F910 | Off-On switch, 2 pos., 3 poles, 45A, Central mount
Nov 1 2020 | OL40A3PBA | A3/32ZM/NS/F911 | Off-On switch, 2 pos., 3 poles, 45A, Central mount
Nov 3 2020 | OL40A4PB | A4/32ZM/NS | Off-On switch, 2 pos., 4 poles, 45A, Central mount
Nov 1 2020 | OL40A4PBA | A4/32ZM/NS/F910 | Off-On switch, 2 pos., 4 poles, 45A, Central mount
Nov 1 2020 | OL40A5PBA | A5/32ZM/NS/F910 | Off-On switch, 2 pos., 5 poles, 45A, Central mount
Nov 3 2020 | OL40A6PB | A6/32ZM/NS | Off-On switch, 2 pos., 6 poles, 45A, Central mount
Nov 1 2020 | OL40A6PBA | A6/32ZM/NS/F910 | Off-On switch, 2 pos., 6 poles, 45A, Central mount
Nov 1 2020 | OL40AU31PB | AU31/32ZM/NS | Ammeter switch, 4 pos., 1 poles, 45A, Central mount
Nov 1 2020 | OL40P12PB | P12/32ZM/NS | Pole change switch, 3 pos., 2 poles, 45A, Central mount
Nov 1 2020 | OL40PW36PB |  | Bypass switch, 2? pos., 3/6 poles, 45A, door mount mount
Nov 3 2020 | OL40SDEPB | SD/32PM-D2/NS/2xZ36 | Star-delta switch, pos., poles, 45A, Enclosed mount
Nov 1 2020 | OL40SDPB | SD/32ZM/NS | Star-delta switch, 3 pos., 3 poles, 45A, Central mount
Nov 1 2020 | OL40SO21PB | ST021/32ZM/NS | Selector switch , 3 pos., 1 poles, 45A, Central mount
Nov 1 2020 | OL40SO22PB | ST022/32ZM/NS | Selector switch , 3 pos., 2 poles, 45A, Central mount
Nov 1 2020 | OL40SO23PB | ST023/32ZM/NS | Selector switch , 3 pos., 3 poles, 45A, Central mount
Nov 1 2020 | OL40SO24PB | ST024/32ZM/NS | Selector switch , 3 pos., 4 poles, 45A, Central mount
Nov 3 2020 | OL40SO31PB | ST031/32ZM/NS | Selector switch , 4 pos., 1 poles, 45A, Central mount
Nov 1 2020 | OL40SO41PB | ST041/32ZM/NS | Selector switch , 5 pos., 1 poles, 45A, Central mount
Nov 1 2020 | OL40SO42PB | ST042/32ZM/NS | Selector switch , 5 pos., 2 poles, 45A, Central mount
Nov 1 2020 | OL40SO43PB | ST043/32ZM/NS | Selector switch , 5 pos., 3 poles, 45A, Central mount
Nov 1 2020 | OL40SO51PB | ST051/32ZM/NS | Selector switch , 6 pos., 1 poles, 45A, Central mount
Nov 1 2020 | OL40ST31PB | ST31/32ZM/NS | Selector switch , 3 pos., 1 poles, 45A, Central mount
Nov 1 2020 | OL40ST32PB | ST32/32ZM/NS | Selector switch , 3 pos., 2 poles, 45A, Central mount
Nov 1 2020 | OL40ST33PB | ST33/32ZM/NS | Selector switch , 3 pos., 3 poles, 45A, Central mount
Nov 1 2020 | OL40ST34PB | ST34/32ZM/NS | Selector switch , 3 pos., 4 poles, 45A, Central mount
Nov 1 2020 | OL40ST41PB | ST41/32ZM/NS | Selector switch , 4 pos., 1 poles, 45A, Central mount
Nov 1 2020 | OL40ST43PB | ST43/32ZM/NS | Selector switch , 4 pos., 3 poles, 45A, Central mount
Nov 1 2020 | OL40ST61PB | ST61/32ZM/NS | Selector switch , 6 pos., 1 poles, 45A, Central mount
Nov 3 2020 | OL40ST63PB | ST63/32ZM/NS | Selector switch , 6 pos., 3 poles, 45A, Central mount
Nov 1 2020 | OL40ST81PB | ST81/32ZM/NS | Selector switch , 8 pos., 1 poles, 45A, Central mount
Nov 3 2020 | OL40ST81PB | ST81/32ZM/NS | Selector switch , pos., poles, 45A, Central mount
Nov 1 2020 | OL40U1KB |  | Key op. chg/ov. switch, 3 pos., 1 poles, 45A, Door mount
Nov 1 2020 | OL40U1PB | U1/32ZM/NS | Changeover switch, 3 pos., 1 poles, 45A, Central mount
Nov 1 2020 | OL40U2PB | U2/32ZM/NS | Changeover switch, 3 pos., 2 poles, 45A, Central mount
Nov 3 2020 | OL40U2PB | U2/32ZM/NS | Changeover switch, pos., poles, 45A, Central mount
Nov 3 2020 | OL40U2RB | U2/32E/Z1 | Changeover switch, pos., 2 poles, 45A, Door mount
Nov 1 2020 | OL40U3PB | U3/32ZM/NS | Changeover switch, 3 pos., 3 poles, 45A, Central mount
Nov 1 2020 | OL40U3PB | U3/32ZM/NS | Changeover switch, 3 pos., 3 poles, 45A, Central mount
Nov 1 2020 | OL40U4PB | U4/32ZM/NS | Changeover switch, 3 pos., 4 poles, 45A, Central mount
Nov 1 2020 | OL40U5PB | U5/32ZM/NS | Changeover switch, 3 pos., 5 poles, 45A, Central mount
Nov 1 2020 | OL40U6PB | U6/32ZM/NS | Changeover switch, 3 pos., 6 poles, 45A, Central mount
Nov 1 2020 | OL40UC3PB |  | Changeover switch, ? pos., 3 poles, 45A, Door mount
Nov 1 2020 | OL40URR1PB |  | Changeover switch, 3 pos., 1 poles, 45A, Door mount
Nov 1 2020 | OL40URR3PB | URR3/32ZM/NS | Changeover switch, 3 pos., 3 poles, 45A, Central mount
Nov 1 2020 | OL40V30PB | V30/32ZM/NS | Voltmeter switch, 7 pos., 3 poles, 45A, Central mount
Nov 1 2020 | OL40V3PB | V3/32ZM/NS | Voltmeter switch, 4 pos., 2 poles, 45A, Central mount
Nov 1 2020 | OL40VN30PB | VN30/32ZM/NS | Voltmeter switch, 7 pos., 3 poles, 45A, Central mount
Nov 1 2020 | OL40VN3PB | VN3/32ZM/NS | Voltmeter switch, 3 pos., 2 poles, 45A, Central mount
Nov 1 2020 | OL40W2PB | W2/32ZM/NS | Reversing switch, 3 pos., 3 poles, 45A, Central mount
Nov 1 2020 | OL40W3PB | W3/32ZM/NS | Reversing switch, 3 pos., 3 poles, 45A, Central mount
Nov 1 2020 | OL40WC1PB | WS1/32ZM/Z11/NS | Changeover switch, 2 pos., 1 poles, 45A, Central mount
Nov 1 2020 | OL40WC2PB | WS2/32ZM/Z11/NS | Changeover switch, 2 pos., 2 poles, 45A, Central mount
Nov 1 2020 | OL40WC3PB | WS3/32ZM/Z11/NS | Changeover switch, 2 pos., 3 poles, 45A, Central mount
Nov 1 2020 | OL40WC4PB | WS4/32ZM/Z11/NS | Changeover switch, 2 pos., 4 poles, 45A, Central mount
Nov 1 2020 | OL40WS1PB | WS1/32ZM/NS | Changeover switch, 2 pos., 1 poles, 45A, Central mount
Nov 1 2020 | OL40WS2PB | WS2/32ZM/NS | Changeover switch, 2 pos., 2 poles, 45A, Central mount
Nov 3 2020 | OL40WS2RB | WS2/32E/Z1 | Changeover switch, 3 pos., 2 poles, 45A, Door mount
Nov 1 2020 | OL40WS36PB |  | Changeover switch, 3 pos., 3 poles, 45A, Door mount
Nov 1 2020 | OL40WS3PB | WS3/32ZM/NS | Changeover switch, 2 pos., 3 poles, 45A, Central mount
Nov 1 2020 | OL40WS4PB | WS4/32ZM/NS | Changeover switch, 2 pos., 4 poles, 45A, Central mount
Nov 3 2020 | OL636RILBS19607 | WA-SON4554/OL63E/IS/Z1 | Consult ITC
Nov 3 2020 | OL8010RGS10860 | WA-SON1830/OL80E/RG/Z7/X83/Z1 | Consult ITC
Nov 3 2020 | OL8010RGS11631 | WA-SON1831/63E/Z7/RG | Consult ITC
Nov 3 2020 | OL8010RUBS10869 | WA-SON7275/63E/Z23/NS/X83/-X70 | Consult ITC
Nov 3 2020 | OL8010RUBS12042 | WA-SON2023/OL80E/Z23/RG/Z7/X83/Z1 | Consult ITC
Nov 3 2020 | OL8012CRBS13229 | WA-SON2694/63V/Z64/FS | Consult ITC
Nov 3 2020 | OL801R3YS14699 | WA-SON/N1/55E/Z33/F910 | Consult ITC
Nov 3 2020 | OL802RGS10687 | WA-SON1702/OL80E/Z7/RG/Z1 | Consult ITC
Nov 3 2020 | OL804RBS12774 | WA-SON2261/OL80E/Z1 | Consult ITC
Nov 3 2020 | OL804RBS12775 | WA-SON2262/63E/NS | Consult ITC
Nov 3 2020 | OL806RBS16041 | WA-SON3299/OL80E/Z1 | Consult ITC
Nov 3 2020 | OL806RGS11521 | WA-SON1726/80E/RG/Z7/Z1 | Consult ITC
Nov 3 2020 | OL806RGS11635 | WA-SON1832/63E/Z7/RG | Consult ITC
Nov 3 2020 | OL806RGS11912 | WA-SON1891/OL80E/RG/Z7/Z1 | Consult ITC
Nov 3 2020 | OL807RGS11697 | WA-SON1849/OL80E/RG/Z1 | Consult ITC
Nov 3 2020 | OL807RGS11698 | WA-SON1850/OL80E/RG/Z7/Z1 | Consult ITC
Nov 3 2020 | OL808RBS20882 | WA-ABB4532/OL80E/NS/Z1 | Consult ITC
Nov 3 2020 | OL809RGS13892 | WA-SON2591/55E/NS | Consult ITC
Nov 1 2020 | OL80A1RB |  | Off-On switch, 2 pos., 1 poles, 80A, Door mount
Nov 1 2020 | OL80A2RB | A2/80E/Z2 | Off-On switch, 2 pos., 2 poles, 80A, Door mount
Nov 3 2020 | OL80NU3RB | U3/80NE/Z1 | Changeover switch, 3 pos., 3 poles, 80A, Door mount
Nov 3 2020 | OL80NU4RB | U4/80NE/Z1 | Changeover switch, 3 pos., 4 poles, 80A, Door mount
Nov 3 2020 | OL80NW2RB | W2/80NE/Z1 | Reversing switch, 3 pos., 2 poles, 80A, Door mount
Nov 1 2020 | OL80PW36RB |  | Changeover switch, 3 pos., 3/6 poles, 80A, Door mount
Nov 3 2020 | OL80SDRB | SD/80E/Z1 | Changeover switch, 3 pos., poles, 80A, Door mount
Nov 1 2020 | OL80U1RB |  | Changeover switch, 3 pos., 1 poles, 80A, Door mount
Nov 1 2020 | OL80U3RB | U3/80E/Z2 | Changeover switch, 3 pos., 3 poles, 80A, Door mount
Nov 3 2020 | OL80U3RB | U3/80E/Z1 | Changeover switch, 3 pos., 3 poles, 80A, Door mount
Nov 1 2020 | OL80UC3RB |  | Changeover switch, 3 pos., 3 poles, 80A, Door mount
Nov 1 2020 | OL80WC1RB |  | Changeover switch, 2 pos., 1 poles, 80A, Door mount
Nov 3 2020 | OL80WC3RB | WS3/80E/Z11/Z1 | Changeover switch, 3 pos., 3 poles, 80A, Door mount
Nov 1 2020 | OL80WS36RB |  | Changeover switch, 3 pos., 3/6 poles, 80A, Door mount
Nov 1 2020 | OLF101/TEXT28958 | LBS-TL.0511/X85 | Accessory
Nov 3 2020 | OLF64 | TL.1148 | Accessory
Nov 3 2020 | OLZ2RB | RS/D2 | Accessory
Nov 3 2020 | OLZ2RG | RG/D2 | Accessory
Nov 3 2020 | OLZ332RRY | Z33/D2 rot-gelb-8mm 4kant | Lockable handle Red/Yellow
Nov 3 2020 | OLZ3RB | RS/D3 | Accessory
Nov 3 2020 | OLZ3RG | RG/D3 | Accessory
Nov 3 2020 | OLZ401L2 | Z10/D1-L2 | Protecting cover for contacts, L2
Nov 3 2020 | OLZ401L4 | Z10/D1-L4 | Protecting cover for contacts, L4
Nov 3 2020 | OLZ401L6 | Z10/D1-L6 | Protecting cover for contacts, L6
OM Switches
| OM Model | ITC Reference | Description
Nov 3 2020 | OM10PBS10331 | WA-SON1229/6ZM/NS | Consult ITC
Nov 3 2020 | OM10PBS11180 | WA-SON1581/6ZM/Z51/NS | Consult ITC
Nov 3 2020 | OM10PBS14615 | WA-SON2900/6ZM/NS | Consult ITC
Nov 3 2020 | OM10PBS7458 | WA-SON643/6ZM/Z51/NS | Consult ITC
Nov 3 2020 | OM11PBS6926 | WA-SON939/6ZM/NS | Consult ITC
Nov 3 2020 | OM12PBS8160 | WA-SON1169/6ZM/NS | Consult ITC
Nov 3 2020 | OM12RBS10754 | WA-SON1360/6E/NS | Consult ITC
Nov 3 2020 | OM14KBS7645 | WA-SON734/6ZM/Z32/KS | Consult ITC
Nov 3 2020 | OM2PBS12164 | WA-SON2089/6ZM/NS/Z54 | Consult ITC
Nov 3 2020 | OM2PBS7205 | WA-SON540/6ZM/NS | Consult ITC
Nov 3 2020 | OM3PBS10595 | WA-SON1326/6ZM/NS | Consult ITC
Nov 3 2020 | OM3PBS13730 | WA-SON2533/6ZM/NS | Consult ITC
Nov 3 2020 | OM4PBS10130 | WA-SON1204/6ZM/NS | Consult ITC
Nov 3 2020 | OM4PBS10379 | WA-SON1239/6ZM/NS | Consult ITC
Nov 3 2020 | OM4PBS10596 | WA-SON1327/6ZM/NS | Consult ITC
Nov 3 2020 | OM4PBS10790 | WA-SON7274/6ZM/NS | Consult ITC
Nov 3 2020 | OM4PBS11486 | WA-SON1799/6ZM/NS | Consult ITC
Nov 3 2020 | OM4PBS12561 | WA-SON2213/6ZM/NS | Consult ITC
Nov 3 2020 | OM4PBS15752 | WA-SON3253/6ZM/NS/Z54 | Consult ITC
Nov 3 2020 | OM4PBS6561 | WA-SON3670/8ZM/X72/NS | Consult ITC
Nov 3 2020 | OM4PBS8031 | WA-SON1082/6ZM/NS | Consult ITC
Nov 3 2020 | OM4PBS8151 | WA-SON1040/6ZM/NS | Consult ITC
Nov 3 2020 | OM4PBS8263 | WA-SON1167/6ZM/NS/X72 | Consult ITC
Nov 3 2020 | OM4PGS12021 | WA-SON2011/6ZM/Z51/NS | Consult ITC
Nov 3 2020 | OM4RBS12279 | WA-SON2088/6E/Z51/Z1 | Consult ITC
Nov 3 2020 | OM4RBS12651 | WA-SON4422/6E/NS/X72/Z1 | Consult ITC
Nov 3 2020 | OM5KBS13000 | WA-SON2407/6ZM/Z32 | Consult ITC
Nov 3 2020 | OM5PBS11821 | WA-SON1918/6ZM/NS | Consult ITC
Nov 3 2020 | OM5PBS8147 | WA-SON1049/6ZM/NS | Consult ITC
Nov 3 2020 | OM6PBS10791 | WA-SON1399/6ZM/NS | Consult ITC
Nov 3 2020 | OM6PBS11550 | WA-SON1795/6ZM/NS/F101 | Consult ITC
Nov 3 2020 | OM6PBS11564 | WA-SON1798/6ZM/Z55/NS | Consult ITC
Nov 3 2020 | OM6PBS13623 | WA-SON2537/6ZM/NS | Consult ITC
Nov 3 2020 | OM6PBS14024 | WA-SON2699/6ZM/NS | Consult ITC
Nov 3 2020 | OM6PBS15035 | WA-SON7271/6ZM/NS | Consult ITC
Nov 3 2020 | OM6PBS7288 | WA-SON1067/6ZM/NS | Consult ITC
Nov 3 2020 | OM6PBS7752 | WA-SON768/6ZM/NS | Consult ITC
Nov 3 2020 | OM6PBS8202 | WA-SON1121/6ZM/NS | Consult ITC
Nov 3 2020 | OM7PBS10641 | WA-SON7269/6ZM/NS | Consult ITC
Nov 3 2020 | OM7PBS10876 | WA-SON1440/6ZM/Z54/NS | Consult ITC
Nov 3 2020 | OM8PBS10783 | WA-SON1387/6ZM/Z55/NS | Consult ITC
Nov 3 2020 | OM8PBS11822 | WA-SON2152/6ZM/NS | Consult ITC
Nov 3 2020 | OM8PBS7828 | WA-SON784/6ZM/NS | Consult ITC
Nov 3 2020 | OM8RBS12252 | WA-SON2232/6E/Z51/NS | Consult ITC
Nov 1 2020 | OMA01KBA |  | Key op. off-On switch, 2 pos., 1 poles, 10A, door mount mount
Nov 3 2020 | OMA01KB | A1/6ZM/Z32/S/F901 | Key op. off-On switch, 2 pos., 1 poles, 10A, Central mount
Nov 1 2020 | OMA01PBA |  | Off-On switch, 2 pos., 1 poles, 10A, door mount mount
Nov 3 2020 | OMA01PB | A1/6ZM/NS/F901 | Off-On switch, 2 pos., 1 poles, 10A, Central mount
Nov 3 2020 | OMA02PB | A2/6ZM/NS/F901 | Off-On switch, 2 pos., 2 poles, 10A, Central mount
Nov 3 2020 | OMA03KB | A3/6ZM/Z32/F901 | Key op. off-On switch, 2 pos., 3 poles, 10A, Central mount
Nov 3 2020 | OMA03PB | A3/6ZM/NS/F901 | Off-On switch, 2 pos., 3 poles, 10A, Central mount
Nov 3 2020 | OMA04PB | A4/6ZM/NS/F901 | Off-On switch, 2 pos., 4 poles, 10A, Central mount
Nov 3 2020 | OMA05PB | A5/6ZM/NS/F901 | Off-On switch, 2 pos., 5 poles, 10A, Central mount
Nov 3 2020 | OMA06PB | A6/6ZM/NS/F901 | Off-On switch, 2 pos., 6 poles, 10A, Central mount
Nov 1 2020 | OMA1KBA |  | Key op. off-On switch, 2 pos., 1 poles, 10A, door mount mount
Nov 3 2020 | OMA1KB | A1/6ZM/Z32/S | Key op. off-On switch, 2 pos., 1 poles, 10A, Central mount
Nov 3 2020 | OMA1PB | A1/6ZM/NS | Off-On switch, 2 pos., 1 poles, 10A, Central mount
Nov 1 2020 | OMA1PBA | A1/6ZM/NS/F910 | Off-On switch, 2 pos., 1 poles, 10A, Central mount
Nov 3 2020 | OMA2PB | A2/6ZM/NS | Off-On switch, 2 pos., 2 poles, 10A, Central mount
Nov 1 2020 | OMA2PBA | A2/6ZM/NS/F910 | Off-On switch, 2 pos., 2 poles, 10A, Central mount
Nov 3 2020 | OMA3KB | A3/6ZM/Z32/S | Key op. off-On switch, 2 pos., 3 poles, 10A, Central mount
Nov 3 2020 | OMA3PB | A3/6ZM/NS | Off-On switch, 2 pos., 3 poles, 10A, Central mount
Nov 1 2020 | OMA3PBA | A3/6ZM/NS/F910 | Off-On switch, 2 pos., 3 poles, 10A, Central mount
Nov 1 2020 | OMA4PBA | A4/6ZM/NS/F910 | Off-On switch, 2 pos., 4 poles, 10A, Central mount
Nov 3 2020 | OMA4PB | A4/6ZM/NS | Off-On switch, 2 pos., 4 poles, 10A, Central mount
Nov 1 2020 | OMA5PBA | A5/6ZM/NS/F910 | Off-On switch, 2 pos., 5 poles, 10A, Central mount
Nov 3 2020 | OMA6PB | A6/6ZM/NS | Off-On switch, 2 pos., 6 poles, 10A, Central mount
Nov 1 2020 | OMA6PBA | A6/6ZM/NS/F910 | Off-On switch, 2 pos., 6 poles, 10A, Central mount
Nov 1 2020 | OMAU31PB | AU31/6ZM/NS | Ammeter switch, 4 pos., 1 poles, 10A, Central mount
Nov 3 2020 | OMFB72 | X72/D00/B | Spare front plate + plastic insert Size D00
Nov 1 2020 | OMPG1 | D00/NS/F101 | Black handle w/blank front plate 30x30, 6mm shaft
Nov 1 2020 | OMS031PB | ST031/6ZM/NS | Selector switch , pos., 4 poles, 10A, Central mount
Nov 1 2020 | OMSA2PB | SA2/6ZM/NS | Consult ITC
Nov 1 2020 | OMSE158PB | WAH158/6ZM/NS | Changeover switch, 2 pos., 1 poles, 10A, Central mount
Nov 3 2020 | OMSEA10PB | SEA10/6ZM/NS | Stop-Start switch, 2 pos., poles, 10A, Central mount
Nov 1 2020 | OMSO21PB | ST021/6ZM/NS | Selector switch , 3 pos., 1 poles, 10A, Central mount
Nov 1 2020 | OMSO22PB | ST022/6ZM/NS | Selector switch , 3 pos., 2 poles, 10A, Central mount
Nov 1 2020 | OMSO23PB | ST023/6ZM/NS | Selector switch , 3 pos., 3 poles, 10A, Central mount
Nov 1 2020 | OMSO24PB | ST024/6ZM/NS | Selector switch , 3 pos., 4 poles, 10A, Central mount
Nov 1 2020 | OMSO31PB | ST031/6ZM/NS | Selector switch , 4 pos., 1 poles, 10A, Central mount
Nov 3 2020 | OMSO33PB | ST033/6ZM/NS | Selector switch , 3 pos., 1 poles, 10A, Central mount
Nov 3 2020 | OMSO34PB | ST034/6ZM/NS | Selector switch , 3 pos., 3 poles, 10A, Central mount
Nov 1 2020 | OMSO41PB | ST041/6ZM/NS | Selector switch , 5 pos., 1 poles, 10A, Central mount
Nov 1 2020 | OMSO42PB | ST042/6ZM/NS | Selector switch , 5 pos., 2 poles, 10A, Central mount
Nov 1 2020 | OMSO43PB | ST043/6ZM/NS | Selector switch , 5 pos., 3 poles, 10A, Central mount
Nov 1 2020 | OMSO51PB | ST051/6ZM/NS | Selector switch , 5 pos., 1 poles, 10A, Central mount
Nov 3 2020 | OMST301PB | WAH157/6ZM/NS | Selector switch , 4 pos., 2 poles, 10A, Central mount
Nov 1 2020 | OMST31PB | ST31/6ZM/NS | Selector switch , 3 pos., 1 poles, 10A, Central mount
Nov 1 2020 | OMST32PB | ST32/6ZM/NS | Selector switch , 3 pos., 2 poles, 10A, Central mount
Nov 1 2020 | OMST33PB | ST33/6ZM/NS | Selector switch , 3 pos., 3 poles, 10A, Central mount
Nov 1 2020 | OMST34PB | ST34/6ZM/NS | Selector switch , 3 pos., 4 poles, 10A, Central mount
Nov 1 2020 | OMST41PB | ST41/6ZM/NS | Selector switch , 4 pos., 1 poles, 10A, Central mount
Nov 1 2020 | OMST51PB | ST51/6ZM/NS | Selector switch , 5 pos., 1 poles, 10A, Central mount
Nov 1 2020 | OMST52PB | ST52/6ZM/NS | Selector switch , 5 pos., 2 poles, 10A, Central mount
Nov 1 2020 | OMU1KB |  | Key op. chg/ov. switch, 3 pos., 1 poles, 10A, Door mount
Nov 3 2020 | OMU1KB | U1/6ZM/Z32/S | Key op. chg/ov. switch, 3 pos., 1 poles, 10A, Central mount
Nov 1 2020 | OMU1PB | U1/6ZM/NS | Changeover switch, 3 pos., 1 poles, 10A, Central mount
Nov 1 2020 | OMU2PB | U2/6ZM/NS | Changeover switch, 3 pos., 2 poles, 10A, Central mount
Nov 3 2020 | OMU3KB | U3/6ZM/Z32/S | Key op. chg/ov. switch, 3 pos., 3 poles, 10A, Central mount
Nov 1 2020 | OMU3PB | U3/6ZM/NS | Changeover switch, 3 pos., 3 poles, 10A, Central mount
Nov 1 2020 | OMU4PB | U4/6ZM/NS | Changeover switch, 3 pos., 4 poles, 10A, Central mount
Nov 1 2020 | OMURR1PB |  | Changeover switch, 3 pos., 1 poles, 10A, Central mount
Nov 3 2020 | OMURR1PB | URR1/6ZM/NS | Changeover switch, 3 pos., 1 poles, 10A, Central mount
Nov 3 2020 | OMURR3PB | URR3/6ZM/NS | Changeover switch, 3 pos., 3 poles, 10A, Central mount
Nov 1 2020 | OMV30PB | V30/6ZM/NS | Voltmeter switch, 7 pos., 3 poles, 10A, Central mount
Nov 1 2020 | OMV32PB | V32/6ZM/NS | Voltmeter switch, 7 pos., 3 poles, 10A, Central mount
Nov 1 2020 | OMV3PB | V3/6ZM/NS | Voltmeter switch, 4 pos., 2 poles, 10A, Central mount
Nov 1 2020 | OMVN30PB | VN30/6ZM/NS | Voltmeter switch, 7 pos., 3 poles, 10A, Central mount
Nov 1 2020 | OMVN3PB | VN3/6ZM/NS | Voltmeter switch, 4 pos., 2 poles, 10A, Central mount
Nov 1 2020 | OMWC1PB | WS1/6ZM/Z11/NS | Changeover switch, 2 pos., 1 poles, 10A, Central mount
Nov 1 2020 | OMWC2PB | WS2/6ZM/Z11/NS | Changeover switch, 2 pos., 2 poles, 10A, Central mount
Nov 1 2020 | OMWC3PB | WS3/6ZM/Z11/NS | Changeover switch, 2 pos., 3 poles, 10A, Central mount
Nov 1 2020 | OMWC4PB | WS4/6ZM/Z11/NS | Changeover switch, 2 pos., 4 poles, 10A, Central mount
Nov 1 2020 | OMWS1PB | WS1/6ZM/NS | Changeover switch, 2 pos., 1 poles, 10A, Central mount
Nov 1 2020 | OMWS2PB | WS2/6ZM/NS | Changeover switch, 2 pos., 2 poles, 10A, Central mount
Nov 1 2020 | OMWS3PB | WS3/6ZM/NS | Changeover switch, 2 pos., 3 poles, 10A, Central mount
Nov 1 2020 | OMWS4PB | WS4/6ZM/NS | Changeover switch, 2 pos., 4 poles, 10A, Central mount
ON Switches
| ON Model | ITC Reference | Description
Nov 3 2020 | ON10EPBS14668 | WA-SON2848/8PLM/NS/F101 | Consult ITC
Nov 3 2020 | ON10P5BS10531 | WA-SON1296/8E/Z35/55/Z1 | Consult ITC
Nov 3 2020 | ON10PBS10178 | WA-SON1185/8ZM/NS | Consult ITC
Nov 3 2020 | ON10PBS10650 | WA-SON7266/8ZM/NS | Consult ITC
Nov 3 2020 | ON10PBS12942 | WA-SON2316/8ZM/NS | Consult ITC
Nov 1 2020 | ON10PBS23111 | WAI277/8ZM/NS | Consult ITC
Nov 1 2020 | ON10PBTS19713 | WA-SON4401/11ZM/NS | Consult ITC
Nov 1 2020 | ON10PBTS23788 | WA-SON5234/11ZM/NS | Consult ITC
Nov 1 2020 | ON10PBTS25246 | WA-SON6031/11ZM/NS | Consult ITC
Nov 1 2020 | ON10PBTS27883 | WA-SON6119/11ZM/NS | Consult ITC
Nov 1 2020 | ON10RBS29771 |  | Consult ITC
Nov 3 2020 | ON12KBS12255 | WA-SON2206/8ZM/Z32 | Consult ITC
Nov 3 2020 | ON12PBS10261 | WA-SON1297/8ZM/NS/Z55 | Consult ITC
Nov 3 2020 | ON12PBS11040 | WA-SON1565/8ZM/NS | Consult ITC
Nov 3 2020 | ON12PBS11771 | WA-SON1904/8ZM/NS | Consult ITC
Nov 3 2020 | ON12PBS12275 | WA-SON2153/8ZM/Z55/NS | Consult ITC
Nov 3 2020 | ON12PBS13818 | WA-SON3266/8ZM/NS | Consult ITC
Nov 3 2020 | ON12PBS14294 | WA-SON2766/8ZM/NS/X72 | Consult ITC
Nov 3 2020 | ON12PBS15533 | WA-SON3185/8ZM/NS/Z55 | Consult ITC
Nov 1 2020 | ON12PBS20408 | WAI278/8ZM/NS | Consult ITC
Nov 1 2020 | ON12PBS25064 | WAI279/8ZM/NS | Consult ITC
Nov 1 2020 | ON12PBS31176 | WAI280/8ZM/NS | Consult ITC
Nov 3 2020 | ON12PBS7239 | WA-SON550/8ZM/NS/Z55 | Consult ITC
Nov 3 2020 | ON12PBS7241 | WA-SON572/8ZM/NS | Consult ITC
Nov 3 2020 | ON12PBS7791 | WA-SON781/8ZM/NS | Consult ITC
Nov 3 2020 | ON12PBS8128 | WA-SON1144/8ZM/X72-F101/NS | Consult ITC
Nov 1 2020 | ON12PBS-XXX |  | Consult ITC
Nov 1 2020 | ON12PBTGS11229 | WA-SON1901/11ZM/X92/NS | Consult ITC
Nov 1 2020 | ON12PBTGS13028 | WA-SON2731/11ZM/X92/NS | Consult ITC
Nov 1 2020 | ON12PBTGS21660 | WA-SON4821/11ZM/NS/X92 | Consult ITC
Nov 1 2020 | ON12PBTGS21660 | WA-SON4821/11ZM/NS/X93 | Consult ITC
Nov 1 2020 | ON12R5LBTS30085 | WA-SON6762/11E/Z35/NS/Z2 | Consult ITC
Nov 1 2020 | ON12RBTS23591 | WA-SON6128/11E/NS/Z2 | Consult ITC
Nov 1 2020 | ON12RLBTGS31038 | WA-SON6924/11E/X92/Z19/NS/Z2 | Consult ITC
Nov 3 2020 | ON12RQBS12035 | WA-SON2133/8ZM/Z32 | Consult ITC
Nov 1 2020 | ON14RBTS23592 | WA-SON6129/11E/NS/Z2 | Consult ITC
Nov 1 2020 | ON14RBTS25326 | WA-SON5392/11E/NS | Consult ITC
Nov 1 2020 | ON15P5LBTS12645 | WA-SON2276/11E/Z35/Z2 | Consult ITC
Nov 1 2020 | ON15R5LBTS31361 | WA-SON7007/11E/Z35/Z2 | Consult ITC
Nov 3 2020 | ON16BPLBS14335 | WA-SON3254/8VZM/Z8/NS | Consult ITC
Nov 3 2020 | ON16PBS10923 | WA-SON1598/8ZM/NS | Consult ITC
Nov 3 2020 | ON16PGS11709 | WA-SON1851/11ZM/Z55/NS | Consult ITC
Nov 3 2020 | ON1P3BS11917 | WA-SON/A1/8ZM/Z33 | Consult ITC
Nov 3 2020 | ON1P3YS12559 | WA-SON/A1/8ZM/Z33GB | Consult ITC
Nov 3 2020 | ON1PZYS14697 | WA-SON/N1/8ZM/Z33/F910 | Consult ITC
Nov 3 2020 | ON1XBS5615 | WA-SON124/8ZM/NS/X99 | Consult ITC
Nov 1 2020 | ON20RLBTGS31124 | WA-SON6928/11E/Z19/X92/NS/Z2 | Consult ITC
Nov 3 2020 | ON20RQBS14982 | WA-SON2927/8E/Z31/Z1 | Consult ITC
Nov 3 2020 | ON22RQBS15751 | WA-SON3229/11E/Z31/Z1 | Consult ITC
Nov 3 2020 | ON24PBS10183 | WA-SON1196/8E/Z42/NS/Z1 | Consult ITC
Nov 3 2020 | ON25A01RB1 | A1/7E/F901/Z1 | Off-On switch, 2 pos., 1 poles, A, Door mount
Nov 3 2020 | ON25A02RB1 | A2/7E/F901/Z1 | Off-On switch, 2 pos., 2 poles, A, Door mount
Nov 3 2020 | ON25U1RB1 | U1/7E/Z1 | Changeover switch, 3 pos., 1 poles, A, Door mount
Nov 3 2020 | ON25U2RB1 | U2/7E/Z1 | Changeover switch, 3 pos., 2 poles, A, Door mount
Nov 3 2020 | ON25U3RB1 | U3/7E/Z1 | Changeover switch, 3 pos., 3 poles, A, Door mount
Nov 3 2020 | ON25V30RB1 | V30/7E/Z1 | Voltmeter switch, 7 pos., 3 poles, A, Door mount
Nov 3 2020 | ON26PZB2S10141 | WA-SON1227/8E/Z42/35/Z1 | Consult ITC
Nov 3 2020 | ON26R5B2S14875 | WA-SON3111/11E/z35/42/Z1 | Consult ITC
Nov 3 2020 | ON2EPBS12390 | WA-SON2207/8PLM/Z55/NS | Consult ITC
Nov 3 2020 | ON2IBS14729 | WA-SON2880/8VZ | Consult ITC
Nov 3 2020 | ON2IBS14809 | WA-SON3379/8VZ/BS | Consult ITC
Nov 3 2020 | ON2MBS10803 | WA-SON1796/8T/Z55 | Consult ITC
Nov 3 2020 | ON2MBS10804 | WA-SON1797/8T | Consult ITC
Nov 3 2020 | ON2MS8143 | WA-SON1038/8T | Consult ITC
Nov 3 2020 | ON2P3BS10840 | WA-SON1441/8ZM/Z33 | Consult ITC
Nov 3 2020 | ON2P3BS12165 | WA-SON2064/8ZM/Z33 | Consult ITC
Nov 3 2020 | ON2P3LYS20512 | WA-SON4514/8ZM/Z33/Rot-Gelb | Consult ITC
Nov 3 2020 | ON2P3LYS30973 | WA-SON6878/11ZM/Z33gb/IP67 | Consult ITC
Nov 3 2020 | ON2P3YS14034 | WA-SON/N2/8ZM/Z33 | Consult ITC
Nov 3 2020 | ON2PBS11211 | WA-SON/AR2/8ZM/NS | Consult ITC
Nov 3 2020 | ON2PBS12036 | WA-SON2083/8ZM/NS | Consult ITC
Nov 1 2020 | ON2PBS15639 | WAI281/8ZM/NS | Consult ITC
Nov 1 2020 | ON2PBS17388 | WOC057/8ZM/NS | Consult ITC
Nov 1 2020 | ON2PBS24701 | WAI282/8ZM/Z54/NS | Consult ITC
Nov 3 2020 | ON2PBS7100 | WA-SON512/8ZM/NS | Consult ITC
Nov 3 2020 | ON2PBS8254 | WA-SON1134/8ZM/NS/Z51 | Consult ITC
Nov 3 2020 | ON2PBS8255 | WA-SON1135/8ZM/NS/Z51 | Consult ITC
Nov 3 2020 | ON2PBS8262 | WA-SON1132/8ZM/NS | Consult ITC
Nov 3 2020 | ON2PLBS11898 | WA-SON1919/8ZM/Z54/8 | Consult ITC
Nov 1 2020 | ON2PLBTGS11138 | WA-SON1648/11ZM/Z8/X93 | Consult ITC
Nov 1 2020 | ON2PZBTS27168 | WA-SON5936/11ZM/Z20/NS | Consult ITC
Nov 3 2020 | ON2RGS12702 | WA-SON2787/8E/Z1 | Consult ITC
Nov 3 2020 | ON2RGTS12773 | WA-SON2302/11E/NS/X70S | Consult ITC
Nov 3 2020 | ON2RYS22874 | WA-SON5008/8E/RY/X72/Z1 | Consult ITC
Nov 3 2020 | ON3BPBS18626 | WA-SON4076/11V/Z37/45 | Consult ITC
Nov 3 2020 | ON3KBS12999 | WA-SON2391/8ZM/Z32/F101 | Consult ITC
Nov 3 2020 | ON3P3BS10902 | WA-SON1490/8ZM/Z33 | Consult ITC
Nov 1 2020 | ON3PBS10127 | WA-SON1145/8ZM/NS | Consult ITC
Nov 3 2020 | ON3PBS10593 | WA-SON1302/8ZM/NS | Consult ITC
Nov 3 2020 | ON3PBS10808 |  | Consult ITC
Nov 3 2020 | ON3PBS11617 | WA-SON1884/8ZM/NS/X99 | Consult ITC
Nov 3 2020 | ON3PBS12273 | WA-SON2154/8ZM/NS | Consult ITC
Nov 3 2020 | ON3PBS12315 | WA-SON2163/8ZM/NS | Consult ITC
Nov 3 2020 | ON3PBS12468 | WA-SON2162/8ZM/NS | Consult ITC
Nov 1 2020 | ON3PBS12689 | WAI283/8ZM/Z54/NS | Consult ITC
Nov 3 2020 | ON3PBS13888 | WA-SON2592/8ZM/X99/NS | Consult ITC
Nov 1 2020 | ON3PBS16994 | WOC056/8ZM/NS | Consult ITC
Nov 1 2020 | ON3PBS30604 | WAI284/8ZM/NS/X72 | Consult ITC
Nov 3 2020 | ON3PBS5630 | WA-SON396/8ZM/NS | Consult ITC
Nov 3 2020 | ON3PBS7481 | WA-SON650/8ZM/NS | Consult ITC
Nov 1 2020 | ON3PGTS16279 | WA-SON3541/11ZM/NS | Consult ITC
Nov 1 2020 | ON3PGTS31491 | WA-SON7054/11ZM/NS | Consult ITC
Nov 1 2020 | ON3PGTS31492 | WA-SON7033/11ZM/NS | Consult ITC
Nov 3 2020 | ON3RBTS21620 | WA-SON4719/11E/NS/Z1 | Consult ITC
Nov 1 2020 | ON40RLBTS22233 | WA-SON5006/32E/NS/Z2 | Consult ITC
Nov 3 2020 | ON42PB3S10245 | WA-SON1223/8E/Z46/GB/Z1 | Consult ITC
Nov 3 2020 | ON44RBTS27821 | WA-SON7268/11E/NS | Consult ITC
Nov 3 2020 | ON4E3YS12648 | WA-SON/A4/8PLM/Z33GB | Consult ITC
Nov 3 2020 | ON4E3YS12732 | WA-SON/A4/8PLM/Z33GB | Consult ITC
Nov 3 2020 | ON4EPBS11111 | WA-SON1564/8PLM/NS | Consult ITC
Nov 3 2020 | ON4EPBS11966 | WA-SON1956/8PLM/NS | Consult ITC
Nov 3 2020 | ON4EPGS15734 | WA-SON3270/8PLM/PG/F101 | Consult ITC
Nov 3 2020 | ON4IBS14810 | WA-SON3539/8VZ/NS | Consult ITC
Nov 1 2020 | ON4IBS18866 | WA-SON6826/8VZ | Consult ITC
Nov 1 2020 | ON4IBS18867 | WA-SON6827/8VZ | Consult ITC
Nov 1 2020 | ON4KBS31511 | WAI285/8ZM/Z32 | Consult ITC
Nov 3 2020 | ON4P3BS11042 | WA-SON1491/8ZM/Z33 | Consult ITC
Nov 3 2020 | ON4P3BS11387 | WA-SON2246/8ZM/Z33 | Consult ITC
Nov 3 2020 | ON4P3LYS10244 | WA-SON1225/8ZM/Z33 | Consult ITC
Nov 1 2020 | ON4PBS10095 | WA-SON1146/8ZM/NS | Consult ITC
Nov 3 2020 | ON4PBS10188 | WA-SON1188/8ZM/Z11 | Consult ITC
Nov 1 2020 | ON4PBS10351 | WA-SON1237/8ZM/NS | Consult ITC
Nov 1 2020 | ON4PBS10742 | WAI286/8ZM/NS | Consult ITC
Nov 3 2020 | ON4PBS10751 | WA-SON1354/8ZM/NS | Consult ITC
Nov 3 2020 | ON4PBS10928 | WA-SON1474/8ZM/NS | Consult ITC
Nov 3 2020 | ON4PBS10985 | WA-SON1512/8ZM/NS | Consult ITC
Nov 3 2020 | ON4PBS11002 | WA-SON1505/8ZM/NS | Consult ITC
Nov 3 2020 | ON4PBS11803 | WA-SON1842/8ZM/NS | Consult ITC
Nov 3 2020 | ON4PBS12224 | WA-SON2307/8ZM/NS | Consult ITC
Nov 3 2020 | ON4PBS12549 | WA-SON2264/8ZM/NS | Consult ITC
Nov 3 2020 | ON4PBS13452 | WA-SON2732/8ZM/NS | Consult ITC
Nov 1 2020 | ON4PBS13452 | WOC055/8ZM/NS | Consult ITC
Nov 1 2020 | ON4PBS13587 | WA-SON2681/8ZM/NS | Consult ITC
Nov 3 2020 | ON4PBS13666 | WA-SON2519/8ZM/NS | Consult ITC
Nov 1 2020 | ON4PBS13759 | WAI287/8ZM/Z54/NS/X72 | Consult ITC
Nov 3 2020 | ON4PBS13923 | WA-SON2643/8ZM/NS | Consult ITC
Nov 3 2020 | ON4PBS14383 | WA-SON2788/8ZM/NS | Consult ITC
Nov 3 2020 | ON4PBS14980 | WA-SON2953/8ZM/NS/Z55 | Consult ITC
Nov 1 2020 | ON4PBS17005 | WOC058/8ZM/NS | Consult ITC
Nov 1 2020 | ON4PBS17755 | WAI288/8ZM/NS | Consult ITC
Nov 1 2020 | ON4PBS21966 | WAI289/8ZM/NS | Consult ITC
Nov 1 2020 | ON4PBS21967 | WAI290/8ZM/NS | Consult ITC
Nov 1 2020 | ON4PBS24700 | WAI291/8ZM/Z55/NS | Consult ITC
Nov 3 2020 | ON4PBS8094 | WA-SON954/8ZM/NS | Consult ITC
Nov 3 2020 | ON4PBS8135 | WA-SON1057/8ZM/NS | Consult ITC
Nov 3 2020 | ON4PBS8256 | WA-SON1136/8ZM/NS/Z51 | Consult ITC
Nov 1 2020 | ON4PBTS13492 | WA-SON2481/11ZM/NS | Consult ITC
Nov 1 2020 | ON4PBTS19381 | WA-SON4191/11ZM/Z55/NS | Consult ITC
Nov 1 2020 | ON4PBTS19381 | WA-SON4191/11ZM/Z55/NS | Consult ITC
Nov 1 2020 | ON4PBTS25244 | WA-SON6030/11/ZM/NS | Consult ITC
Nov 1 2020 | ON4PBTS25244 | WA-SON6030/11ZM/NS | Consult ITC
Nov 1 2020 | ON4PBTS26355 | WA-SON5674/11ZM/Z54/NS | Consult ITC
Nov 1 2020 | ON4PBTS28468 | WA-SON6373/11ZM/Z54/NS | Consult ITC
Nov 1 2020 | ON4PBTS28859 | WA-SON6425/11ZM/NS | Consult ITC
Nov 3 2020 | ON4PLGS14724 | WA-SON2889/8ZM/Z8/51/PG | Consult ITC
Nov 3 2020 | ON4R3LYS22728 | WA-SON4961/8E/Z33rot-gelb/Z1 | Consult ITC
Nov 3 2020 | ON4RBTS12650 | WA-SON2301/11E/X72/Z1 | Consult ITC
Nov 3 2020 | ON4RLYS11494 | WA-SON1843/8E/Z8/NR/X70GB | Consult ITC
Nov 3 2020 | ON5EPBS10740 | WA-SON1378/8PLM-25/NS/Z1/55 | Consult ITC
Nov 3 2020 | ON5EPBS10908 | WA-SON1442/8PLM/NS | Consult ITC
Nov 3 2020 | ON5EPGS15080 | WA-SON3030/8PLM/PG | Consult ITC
Nov 3 2020 | ON5KBS10289 | WA-SON1214/8ZM/KB/Z32 | Consult ITC
Nov 3 2020 | ON5KBS28463 | WA-SON6706/8ZM/Z32-R405/KB | Consult ITC
Nov 3 2020 | ON5P3BS11227 | WA-SON1599/8ZM/Z33 | Consult ITC
Nov 3 2020 | ON5P3YS11117 | WA-SON1719/8ZM/Z33GB | Consult ITC
Nov 3 2020 | ON5P3YS13911 | WA-SON3006/8ZM/Z33GB/Z10 | Consult ITC
Nov 3 2020 | ON5PBS13204 | WA-SON2767/8ZM/NS | Consult ITC
Nov 1 2020 | ON5PBS14720 | WAI292/8ZM/Z55/NS | Consult ITC
Nov 1 2020 | ON5PBS17204 | WOC059/8ZM/NS | Consult ITC
Nov 1 2020 | ON5PBS28053 | WAI293/8ZM/NS | Consult ITC
Nov 3 2020 | ON5PBS36CA | WA-SON917/8ZM//Z51/F101/NS | Consult ITC
Nov 3 2020 | ON5PBS7294 | WA-SON565/8ZM/NS | Consult ITC
Nov 1 2020 | ON5PBTS19714 | WAI265/11ZM/X85/NS | Consult ITC
Nov 1 2020 | ON5PBTS28069 | WA-SON6202/11ZM/NS | Consult ITC
Nov 1 2020 | ON5PGTS16278 | WA-SON3375/11ZM/NS | Consult ITC
Nov 1 2020 | ON5R5LBTS24521 | WA-SON5321/11E/Z35/Z2 | Consult ITC
Nov 3 2020 | ON6BZYS13286 | WA-SON2427/8VZM/Z20R/X70GB | Consult ITC
Nov 3 2020 | ON6E3LYS30517 | WA-SON6798/11PLM-20/Z33gb | Consult ITC
Nov 3 2020 | ON6EPBS10938 | WA-SON1506/8PLM/Z55/NS | Consult ITC
Nov 3 2020 | ON6EPBS11001 | WA-SON1487/8PLM/NS | Consult ITC
Nov 3 2020 | ON6EPBS11178 | WA-SON1654/8PLM/NS | Consult ITC
Nov 3 2020 | ON6EPBS11340 | WA-SON1699/8PLM/NS/F101 | Consult ITC
Nov 1 2020 | ON6KBS18293 | WAI294/8ZM-30,5/Z32 | Consult ITC
Nov 1 2020 | ON6KBS26371 | WA-SON5673/8ZM/Z32/NS | Consult ITC
Nov 3 2020 | ON6P3LYS18929 | WA-SON4026/11ZM/Z33 rot-gelb | Consult ITC
Nov 3 2020 | ON6P3YS11566 | WA-SON1717/8ZM/Z33GB | Consult ITC
Nov 3 2020 | ON6PBS10807 | WA-SON1393/8ZM/NS | Consult ITC
Nov 3 2020 | ON6PBS11274 | WA-SON1600/8ZM/NS | Consult ITC
Nov 1 2020 | ON6PBS11645 | WAI295/8ZM/NS | Consult ITC
Nov 3 2020 | ON6PBS11772 | WA-SON1906/8ZM/NS | Consult ITC
Nov 3 2020 | ON6PBS11876 | WA-SON1898/8ZM/NS | Consult ITC
Nov 1 2020 | ON6PBS12479 | WAI296/8ZM/NS | Consult ITC
Nov 3 2020 | ON6PBS12556 | WA-SON2214/8ZM/NS/F101 | Consult ITC
Nov 3 2020 | ON6PBS12907 | WA-SON2336/8ZM/NS | Consult ITC
Nov 3 2020 | ON6PBS13232 | WA-SON2388/8ZM/Z55/NS | Consult ITC
Nov 1 2020 | ON6PBS14028 | WAI297/8ZM/NS | Consult ITC
Nov 3 2020 | ON6PBS15143 | WA-SON3028/8ZM/NS/Z55 | Consult ITC
Nov 3 2020 | ON6PBS15716 | WA-SON3225/8ZM/NS/X72 | Consult ITC
Nov 1 2020 | ON6PBS22598 | WAI298/8ZM/NS | Consult ITC
Nov 1 2020 | ON6PBS29035 | WAI299/8ZM/NS | Consult ITC
Nov 1 2020 | ON6PBS30718 | WAI308/8ZM/NS | Consult ITC
Nov 3 2020 | ON6PBS7261 | WA-SON585/8ZM/NS | Consult ITC
Nov 3 2020 | ON6PBS7262 | WA-SON736/8ZM/NS | Consult ITC
Nov 3 2020 | ON6PBS7263 | WA-SON586/8ZM/NS | Consult ITC
Nov 3 2020 | ON6PBS7313 | WA-SON587/8ZM/NS | Consult ITC
Nov 3 2020 | ON6PBS7321 | WA-SON588/8ZM/NS | Consult ITC
Nov 3 2020 | ON6PBS7999 | WA-SON901/8ZM/NS | Consult ITC
Nov 3 2020 | ON6PBS8107 | WA-SON959/8ZM/NS/Z54 | Consult ITC
Nov 3 2020 | ON6PBS8180 | WA-SON1116/8ZM/NS/X72/Z51 | Consult ITC
Nov 1 2020 | ON6PBTS13458 | WA-SON2513/11ZM/Z55/NS | Consult ITC
Nov 1 2020 | ON6PBTS18979 | WA-SON4043/11ZM/NS | Consult ITC
Nov 1 2020 | ON6PBTS19382 | WA-SON4193/11ZM/NS/Z55 | Consult ITC
Nov 1 2020 | ON6PBTS19382 | WA-SON4193/11ZM/NS/Z55 | Consult ITC
Nov 1 2020 | ON6PBTS19387 | WA-SON4194/11ZM/NS/Z55 | Consult ITC
Nov 1 2020 | ON6PBTS19387 | WA-SON4194/11ZM/NS/Z55 | Consult ITC
Nov 1 2020 | ON6PBTS19388 | WA-SON4195/11ZM/Z54/NS | Consult ITC
Nov 1 2020 | ON6PBTS19388 | WA-SON4195/11ZM/NS/Z55 | Consult ITC
Nov 1 2020 | ON6PBTS19716 | WA-SON4402/11ZM/Z55/NS | Consult ITC
Nov 1 2020 | ON6PBTS24802 | WA-SON5293/11ZM/NS | Consult ITC
Nov 1 2020 | ON6PBTS25254 | WA-SON6032/11ZM/NS | Consult ITC
Nov 1 2020 | ON6PBTS27633 | WA-SON6073/11ZM/NS | Consult ITC
Nov 3 2020 | ON6PGS14130 | WA-SON2700/8ZM/PG | Consult ITC
Nov 1 2020 | ON6PGTS10895 | WA-SON1437/11ZM/NS | Consult ITC
Nov 1 2020 | ON6PGTS32295 | WA-SON7196/11ZM/NS | Consult ITC
Nov 3 2020 | ON6PLBS12085 | WA-SON2230/8ZM/Z8/NS | Consult ITC
Nov 3 2020 | ON6PYS14041 | WA-SON2651/8ZM/NR/GB/Z55 | Consult ITC
Nov 3 2020 | ON6RBS10909 | WA-SON1445/7SM/NS/-X70 | Consult ITC
Nov 3 2020 | ON6RBS10911 | WA-SON1444/7SM/Z20 -Z9 | Consult ITC
Nov 1 2020 | ON6RBTS27852 | WA-SON6160/11ZM/NS | Consult ITC
Nov 3 2020 | ON6RLBTS19606 | WA-SON4555/11E/Z19/NS/Z1 | Consult ITC
Nov 3 2020 | ON6XBS12473 | WA-SON2241/8ZM/Z55/X99/NS | Consult ITC
Nov 3 2020 | ON7PBS10643 | WA-SON1388/8ZM/NS | Consult ITC
Nov 1 2020 | ON7PBS16235 | WAI300/8ZM/NS | Consult ITC
Nov 3 2020 | ON7PBS8201 | WA-SON1079/8ZM/NS | Consult ITC
Nov 1 2020 | ON7PLBTGS11139 | WA-SON1647/11ZM/Z8/X93 | Consult ITC
Nov 3 2020 | ON8BPBS15689 | WA-SON3224/8VZM/NS | Consult ITC
Nov 3 2020 | ON8BPRS10255 | WA-SON1193/8VZM/NR | Consult ITC
Nov 3 2020 | ON8CZBS11611 | WA-SON1731/12V/Z20/75 | Consult ITC
Nov 3 2020 | ON8E3LYS30518 | WA-SON6799/11PLM-20/Z33gb | Consult ITC
Nov 3 2020 | ON8EPBTS10935 | WA-SON1718/11PLM/Z54/NS | Consult ITC
Nov 3 2020 | ON8EPGS15445 | WA-SON3114/8PLM/Z54/PG/F101 | Consult ITC
Nov 3 2020 | ON8PBS10528 | WA-SON1298/8ZM/NS | Consult ITC
Nov 3 2020 | ON8PBS10642 | WA-SON1390/8ZM/NS | Consult ITC
Nov 3 2020 | ON8PBS10644 | WA-SON1391/8ZM/NS | Consult ITC
Nov 3 2020 | ON8PBS10646 | WA-SON1392/8ZM/NS | Consult ITC
Nov 1 2020 | ON8PBS13316 | WAI301/8ZM/Z54/NS | Consult ITC
Nov 1 2020 | ON8PBS14386 | WAI302/8ZM/NS | Consult ITC
Nov 1 2020 | ON8PBS18973 | WAI303/8ZM/Z54/NS/F101 | Consult ITC
Nov 1 2020 | ON8PBS19436 | WAI304/8ZM/Z54/NS/F101 | Consult ITC
Nov 3 2020 | ON8PBS22250 | WA-SON5383/8ZM/NS | Consult ITC
Nov 1 2020 | ON8PBS25120 | WAI305/8ZM/Z54/NS | Consult ITC
Nov 1 2020 | ON8PBS30158 | WAI306/8ZM/NS | Consult ITC
Nov 1 2020 | ON8PBTGS14223 | WA-SON5659/11ZM/NS | Consult ITC
Nov 1 2020 | ON8PBTS13493 | WA-SON2480/11ZM/NS | Consult ITC
Nov 1 2020 | ON8PBTS16908 | WA-SON3606/11ZM/NS | Consult ITC
Nov 1 2020 | ON8PBTS19383 | WA-SON4196/11ZM/NS | Consult ITC
Nov 1 2020 | ON8PBTS19384 | WA-SON4197/11ZM/NS | Consult ITC
Nov 1 2020 | ON8PBTS19386 | WA-SON4198/11ZM/NS | Consult ITC
Nov 1 2020 | ON8PBTS19712 | WA-SON4403/11ZM/NS | Consult ITC
Nov 1 2020 | ON8PBTS29466 | WA-SON6731/11ZM/NS | Consult ITC
Nov 3 2020 | ON8PGS15825 | WA-SON3234/8ZM/PG | Consult ITC
Nov 3 2020 | ON8PLBS13171 | WA-SON2394/8ZM/Z8/NS | Consult ITC
Nov 3 2020 | ON8PZBS11774 | WA-SON1902/8ZM/Z20/55/PB | Consult ITC
Nov 3 2020 | ON8PZBS12267 | WA-SON2216/8ZM/Z20 | Consult ITC
Nov 1 2020 | ON8PZBTS24359 | WA-SON5214/11ZM/Z20S | Consult ITC
Nov 1 2020 | ON8R5LBS29020 | WA-SON6697/11E/Z35/NS/Z2 | Consult ITC
Nov 3 2020 | ON8RBS10673 | WA-SON1384/7SM | Consult ITC
Nov 1 2020 | ON8RLBTS31930 | WA-SON7108/11E/Z8/NS/Z2 | Consult ITC
Nov 1 2020 | ON9PBS31584 | WA-SON/ST33/8ZM/NS | Consult ITC
Nov 3 2020 | ON9PBS7260 | WA-SON589/8ZM/NS | Consult ITC
Nov 1 2020 | ONA01KBA |  | Key op. Off-On switch, 2 pos., 1 poles, 16A, door mount mount
Nov 3 2020 | ONA01KB | A1/8ZM/Z32/S/F901 | Key op. Off-On switch, 2 pos., 1 poles, 16A, Central mount
Nov 1 2020 | ONA01MA |  | Off-On switch, 2 pos., 1 poles, 16A, DIN-rail mount
Nov 3 2020 | ONA01MA | A1/8T/F907 | Off-On switch, 2 pos., 1 poles, 16A, DIN mount
Nov 3 2020 | ONA01M | A1/8T/F901 | Off-On switch, 2 pos., 1 poles, 16A, DIN mount
Nov 1 2020 | ONA01PBA |  | Off-On switch, 2 pos., 1 poles, 16A, door mount mount
Nov 3 2020 | ONA01PBA | A1/8ZM/NS/F907 | Off-On switch, 2 pos., 1 poles, 16A, Central mount
Nov 3 2020 | ONA01PB | A1/8ZM/NS/F901 | Off-On switch, 2 pos., 1 poles, 16A, Central mount
Nov 3 2020 | ONA02M | A2/8T/F901 | Off-On switch, 2 pos., 2 poles, 16A, DIN mount
Nov 3 2020 | ONA02PBA | A2/8ZM/NS/F907 | Off-On switch, 2 pos., 2 poles, 16A, Central mount
Nov 3 2020 | ONA02PB | A2/8ZM/NS/F901 | Off-On switch, 2 pos., 2 poles, 16A, Central mount
Nov 3 2020 | ONA03KB | A3/8ZM/Z32/F901/S | Key op. Off-On switch, 2 pos., 3 poles, 16A, Central mount
Nov 3 2020 | ONA03M | A3/8T/F901 | Off-On switch, 2 pos., 3 poles, 16A, DIN mount
Nov 3 2020 | ONA03PBA | A3/8ZM/NS/F907 | Off-On switch, 2 pos., 3 poles, 16A, Central mount
Nov 3 2020 | ONA03PB | A3/8ZM/NS/F901 | Off-On switch, 2 pos., 3 poles, 16A, Central mount
Nov 3 2020 | ONA04PBA | A4/8ZM/NS/F907 | Off-On switch, 2 pos., 4 poles, 16A, Central mount
Nov 3 2020 | ONA04PB | A4/8ZM/NS/F901 | Off-On switch, 2 pos., 4 poles, 16A, Central mount
Nov 3 2020 | ONA05PB | A5/8ZM/NS/F901 | Off-On switch, 2 pos., 5 poles, 16A, Central mount
Nov 3 2020 | ONA06M | A6/8T/F901 | Off-On switch, 2 pos., 6 poles, 16A, DIN mount
Nov 3 2020 | ONA06PB | A6/8ZM/NS/F901 | Off-On switch, 2 pos., 6 poles, 16A, Central mount
Nov 3 2020 | ONA10PB | A10/8ZM/NS | Off-On switch, 2 pos., 10 poles, 16A, Central mount
Nov 3 2020 | ONA1EPB | A1/8PLM-20/NS/Z1/2xZ36 | Off-On switch, 2 pos., 1 poles, 16A, Enclosed mount
Nov 1 2020 | ONA1KBA |  | Key op. Off-On switch, 2 pos., 1 poles, 16A, door mount mount
Nov 3 2020 | ONA1KB | A1/8ZM/Z32/S | Key op. Off-On switch, 2 pos., 1 poles, 16A, Central mount
Nov 1 2020 | ONA1M | A1/8T/F901 | Off-On switch, 2 pos., 1 poles, 16A, DIN mount
Nov 1 2020 | ONA1PBA | A1/8ZM/NS/F910 | Off-On switch, 2 pos., 1 poles, 16A, Central mount
Nov 1 2020 | ONA1PBA | A1/8ZM/NS/F911 | Off-On switch, 2 pos., 1 poles, 16A, Central mount
Nov 3 2020 | ONA1PB | A1/8ZM/NS | Off-On switch, 2 pos., 1 poles, 16A, Central mount
Nov 3 2020 | ONA1RB | A1/8E/Z1 | Off-On switch, 2 pos., 1 poles, 16A, Door mount
Nov 3 2020 | ONA2EPB | A2/8PLM-25/NS/Z1/2xZ36 | Off-On switch, 2 pos., 2 poles, 16A, Enclosed mount
Nov 3 2020 | ONA2M | A2/8T/F901 | Off-On switch, 2 pos., 2 poles, 16A, DIN mount
Nov 3 2020 | ONA2PB | A2/8ZM/NS | Off-On switch, 2 pos., 2 poles, 16A, Central mount
Nov 1 2020 | ONA2PBA | A2/8ZM/NS/F910 | Off-On switch, 2 pos., 2 poles, 16A, Central mount
Nov 3 2020 | ONA2PB | A2/8ZM/NS | Off-On switch, 2 pos., 2 poles, 16A, Central mount
Nov 3 2020 | ONA2XB | A2/8ZM/NS/X99 | Off-On switch, 2 pos., 2 poles, 16A, Central mount
Nov 3 2020 | ONA3EKB | A3/8PM/Z32/S/2xZ36 | Key op. Off-On switch, 2 pos., 3 poles, 16A, Enclosed mount
Nov 3 2020 | ONA3EPB | A3/8PLM-25/NS/Z1/2xZ36 | Off-On switch, 2 pos., 3 poles, 16A, Enclosed mount
Nov 3 2020 | ONA3EZB | A3/8PLM-25/NS/Z1/20 | Off-On switch, 2 pos., 3 poles, 16A, Enclosed mount
Nov 3 2020 | ONA3KB | A3/8ZM/Z32/S | Key op. Off-On switch, 2 pos., 3 poles, 16A, Central mount
Nov 3 2020 | ONA3M | A3/8T/F901 | Off-On switch, 2 pos., 3 poles, 16A, DIN mount
Nov 3 2020 | ONA3PB | A3/8ZM/NS | Off-On switch, 2 pos., 3 poles, 16A, Central mount
Nov 1 2020 | ONA3PBA | A3/8ZM/NS/F910 | Off-On switch, 2 pos., 3 poles, 16A, Central mount
Nov 1 2020 | ONA3PBA | A3/8ZM/NS/F911 | Off-On switch, 2 pos., 3 poles, 16A, Central mount
Nov 1 2020 | ONA4PBA | A4/8ZM/NS/F910 | Off-On switch, 2 pos., 4 poles, 16A, Central mount
Nov 1 2020 | ONA4PBA | A4/8ZM/NS/F911 | Off-On switch, 2 pos., 4 poles, 16A, Central mount
Nov 3 2020 | ONA4PB | A4/8ZM/NS/F901 | Off-On switch, 2 pos., 4 poles, 16A, Central mount
Nov 3 2020 | ONA4XB | A4/8ZM/NS/X99 | Off-On switch, 2 pos., 4 poles, 16A, Central mount
Nov 3 2020 | ONA5PB | A5/8ZM/NS/F901 | Off-On switch, 2 pos., 5 poles, 16A, Central mount
Nov 3 2020 | ONA5PBA | A5/8ZM/NS/F911 | Off-On switch, 2 pos., 5 poles, 16A, Central mount
Nov 3 2020 | ONA5PB | A5/8ZM/NS | Off-On switch, 2 pos., 5 poles, 16A, Central mount
Nov 3 2020 | ONA6M | A6/8T/F901 | Off-On switch, 2 pos., 6 poles, 16A, DIN mount
Nov 3 2020 | ONA6PB | A6/8ZM/NS/F901 | Off-On switch, 2 pos., 6 poles, 16A, Central mount
Nov 1 2020 | ONA6PBA | A6/8ZM/NS/F911 | Off-On switch, 2 pos., 6 poles, 16A, Central mount
Nov 3 2020 | ONA6PBA | A6/8ZM/NS/F910 | Off-On switch, 2 pos., 6 poles, 16A, Central mount
Nov 3 2020 | ONA7PBA | A7/8ZM/NS/F907 | Off-On switch, 2 pos., 7 poles, 16A, Central mount
Nov 3 2020 | ONA8PB |  | Off-On switch, 2 pos., 8 poles, 16A, Central mount
Nov 3 2020 | ONA8PBA | A8/8ZM/NS/F907 | Off-On switch, 2 pos., 8 poles, 16A, Central mount
Nov 3 2020 | ONA8PB | A8/8ZM/NS | Off-On switch, 2 pos., 8 poles, 16A, Central mount
Nov 1 2020 | ONAO3PBA |  | Consult ITC
Nov 1 2020 | ONAO6PBA |  | Consult ITC
Nov 3 2020 | ONAU31M | AU31/8T | Ammeter switch, 4 pos., 1 poles, 16A, DIN mount
Nov 1 2020 | ONAU31PB | AU31/8ZM/NS | Ammeter switch, 4 pos., 1 poles, 16A, Central mount
Nov 1 2020 | ONAU31PB | AU31/8ZM/NS | Ammeter switch, 4 pos., 1 poles, 16A, Central mount
Nov 3 2020 | ONAU31PBIT | QCA-4 | Ammeter switch, 4 pos., poles, 16A, Central mount
Nov 3 2020 | ONAU32PB | AU32/8ZM/NS | Ammeter switch, 4 pos., 2 poles, 16A, Central mount
Nov 3 2020 | ONAV12PB | WA-SON1585/8ZM/Z51 | Volt-ammeter switch, pos., poles, 16A, Central mount
Nov 3 2020 | ONBC0110PB | WA-SON1533/8ZM/NS | Binary code switch, pos., poles, 16A, Central mount
Nov 1 2020 | ONBC030PB |  | Consult ITC
Nov 1 2020 | ONBC070PB | WA-SON1538/8ZM/NS | Binary code switch, 8 pos., 1 poles, 16A, Central mount
Nov 3 2020 | ONBC070PB | WA-SON1538/8ZM/NS | Binary code switch, pos., poles, 16A, Central mount
Nov 1 2020 | ONBC090PB | WA-SON1535/8ZM/NS | Binary code switch, 10 pos., 1 poles, 16A, door mount mount
Nov 3 2020 | ONFB72 | X72/D0/B | Spare plate w/insert Size D0
Nov 3 2020 | ONK95 | X95/D0 | Safety key Size D0
Nov 1 2020 | ONP12PB | P12/8ZM/NS | Pole-change switch, pos., 3 poles, 16A, Central mount
Nov 1 2020 | ONPB1 | Antrieb D0 kompl.F101 | Black handle with blank front plate 48x48, 6mm shaft
Nov 1 2020 | ONPW36PB |  | Bypass switch, 2 pos., 3/6 poles, 16A, Central mount
Nov 1 2020 | ONS021PB | ST021/8ZM/NS | Selector switch , 3 pos., 3 poles, 16A, Central mount
Nov 1 2020 | ONS022PB | ST022/8ZM/NS | Selector switch , 3 pos., 3 poles, 16A, Central mount
Nov 1 2020 | ONS031PB | ST031/8ZM/NS | Selector switch , 4 pos., 4 poles, 16A, Central mount
Nov 1 2020 | ONS042PB | ST042/8ZM/NS | Selector switch , 5 pos., 5 poles, 16A, Central mount
Nov 1 2020 | ONS051PB | ST051/8ZM/NS | Selector switch , 6 pos., 6 poles, 16A, Central mount
Nov 1 2020 | ONS062PB | ST062/8ZM/NS | Selector switch , 7 pos., 7 poles, 16A, Central mount
Nov 1 2020 | ONS081PB | ST081/8ZM/NS | Selector switch , 9 pos., 9 poles, 16A, Central mount
Nov 1 2020 | ONSA2PB | SA2/8ZM/NS | Consult ITC
Nov 1 2020 | ONSDPB | SD/8ZM/NS | Star-delta switch, 3 pos., 3 poles, 16A, Central mount
Nov 1 2020 | ONSE158PB | WAH158/8ZM/NS | Consult ITC
Nov 3 2020 | ONSEA10PB | SEA10/8ZM/NS | Stop-Start switch, pos., poles, 16A, Central mount
Nov 1 2020 | ONSEA1PB | SEA1/8ZM/NS | Stop-Start switch, 2 pos., 1 poles, 16A, Central mount
Nov 3 2020 | ONSO111PB | ST0111/8ZM/NS | Selector switch , 12 pos., 1 poles, 16A, Central mount
Nov 1 2020 | ONSO21PB | ST021/8ZM/NS | Selector switch , 3 pos., 1 poles, 16A, Central mount
Nov 1 2020 | ONSO22PB | ST022/8ZM/NS | Selector switch , 3 pos., 2 poles, 16A, Central mount
Nov 1 2020 | ONSO23PB | ST023/8ZM/NS | Selector switch , 3 pos., 3 poles, 16A, Central mount
Nov 1 2020 | ONSO24PB | ST024/8ZM/NS | Selector switch , 3 pos., 4 poles, 16A, Central mount
Nov 3 2020 | ONSO31PB | ST031/8ZM/NS | Selector switch , 4 pos., 1 poles, 16A, Central mount
Nov 3 2020 | ONSO32PB | ST032/8ZM/NS | Selector switch , 4 pos., 2 poles, 16A, Central mount
Nov 3 2020 | ONSO33PB | ST033/8ZM/NS | Selector switch , 4 pos., 3 poles, 16A, Central mount
Nov 3 2020 | ONSO34PB | ST034/8ZM/NS | Selector switch , 4 pos., 4 poles, 16A, Central mount
Nov 1 2020 | ONSO41PB | ST041/8ZM/NS | Selector switch , 5 pos., 1 poles, 16A, Central mount
Nov 1 2020 | ONSO42PB | ST042/8ZM/NS | Selector switch , 5 pos., 2 poles, 16A, Central mount
Nov 1 2020 | ONSO43PB | ST043/8ZM/NS | Selector switch , 5 pos., 3 poles, 16A, Central mount
Nov 3 2020 | ONSO51PB | ST051/8ZM/NS | Selector switch , 6 pos., 1 poles, 16A, Central mount
Nov 3 2020 | ONSO52PB | ST052/8ZM/NS | Selector switch , 6 pos., 2 poles, 16A, Central mount
Nov 1 2020 | ONSO61PB | ST061/8ZM/NS | Selector switch , 7 pos., 1 poles, 16A, Central mount
Nov 3 2020 | ONSO71PB | ST071/8ZM/NS | Selector switch , 8 pos., 1 poles, 16A, Central mount
Nov 1 2020 | ONSO81PB | ST081/8ZM/NS | Selector switch , 9 pos., 1 poles, 16A, Central mount
Nov 3 2020 | ONSO91PB | ST091/8ZM/NS | Selector switch , 10 pos., 1 poles, 16A, Central mount
Nov 3 2020 | ONST121PB | ST121/8ZM/NS | Selector switch , 12 pos., 1 poles, 16A, Central mount
Nov 1 2020 | ONST121PB | ST121/8ZM/NS | Selector switch , 12 pos., 1 poles, 16A, Central mount
Nov 3 2020 | ONST301M | WAH157/8T | Consult ITC
Nov 3 2020 | ONST301PB | WAH157/8ZM/NS | Consult ITC
Nov 3 2020 | ONST31M | ST31/8T | Selector switch , 3 pos., 1 poles, 16A, DIN mount
Nov 1 2020 | ONST31PB | ST31/8ZM/NS | Selector switch , 3 pos., 1 poles, 16A, Central mount
Nov 1 2020 | ONST32PB | ST32/8ZM/NS | Selector switch , 3 pos., 2 poles, 16A, Central mount
Nov 1 2020 | ONST33PB | ST33/8ZM/NS | Selector switch , 3 pos., 3 poles, 16A, Central mount
Nov 1 2020 | ONST34PB | ST34/8ZM/NS | Selector switch , 3 pos., 4 poles, 16A, Central mount
Nov 1 2020 | ONST41PB | ST41/8ZM/NS | Selector switch , 4 pos., 1 poles, 16A, Central mount
Nov 3 2020 | ONST42PB | ST42/8ZM/NS | Selector switch , 4 pos., 2 poles, 16A, Central mount
Nov 1 2020 | ONST42PB | ST42/8ZM/NS | Selector switch , 4 pos., 2 poles, 16A, Central mount
Nov 3 2020 | ONST43PB | ST43/8ZM/NS | Selector switch , 4 pos., 3 poles, 16A, Central mount
Nov 3 2020 | ONST51PB | ST51/8ZM/NS | Selector switch , 5 pos., 1 poles, 16A, Central mount
Nov 3 2020 | ONST52PB | ST52/8ZM/NS | Selector switch , 5 pos., 2 poles, 16A, Central mount
Nov 1 2020 | ONST61PB | ST61/8ZM/NS | Selector switch , 6 pos., 1 poles, 16A, Central mount
Nov 3 2020 | ONST62PB | ST62/8ZM/NS | Selector switch , 6 pos., 2 poles, 16A, Central mount
Nov 3 2020 | ONST71PB | ST71/8ZM/NS | Selector switch , 7 pos., 1 poles, 16A, Central mount
Nov 1 2020 | ONST81PB | ST81/8ZM/NS | Selector switch , 8 pos., 1 poles, 16A, Central mount
Nov 3 2020 | ONU1KB | U1/8ZM/Z32/S | Key op.Changeover switch, 3 pos., 1 poles, 16A, DIN mount
Nov 1 2020 | ONU1M | U1/8T | Changeover switch, 3 pos., 1 poles, 16A, DIN-rail mount
Nov 1 2020 | ONU1PB | U1/8ZM/NS | Changeover switch, 3 pos., 1 poles, 16A, Central mount
Nov 3 2020 | ONU1PB/H-OFF-A | U1/8ZM/NS/HAND-OFF-AUTO | Changeover switch, 3 pos., 1 poles, 16A, Central mount
Nov 3 2020 | ONU2M | U2/8T | Changeover switch, 3 pos., 2 poles, 16A, DIN mount
Nov 1 2020 | ONU2PB | U2/8ZM/NS | Changeover switch, 3 pos., 2 poles, 16A, Central mount
Nov 3 2020 | ONU3KB | U3/8ZM/Z32/B | Key op.Changeover switch, 3 pos., 3 poles, 16A, Central mount
Nov 3 2020 | ONU3M | U3/8T | Changeover switch, 3 pos., 3 poles, 16A, DIN mount
Nov 1 2020 | ONU3PB | U3/8ZM/NS | Changeover switch, 3 pos., 3 poles, 16A, Central mount
Nov 1 2020 | ONU3PB | U3/8ZM/NS | Changeover switch, 3 pos., 3 poles, 16A, Central mount
Nov 3 2020 | ONU3XB | U3/8ZM/NS/X99 | Changeover switch, 3 pos., 3 poles, 16A, Central mount
Nov 3 2020 | ONU4KB | U4/8ZM/Z32/KB | Changeover switchKey op., 3 pos., 4 poles, 16A, Central mount
Nov 3 2020 | ONU4M | U4/8T | Changeover switch, 3 pos., 4 poles, 16A, DIN mount
Nov 1 2020 | ONU4PB | U4/8ZM/NS | Changeover switch, 3 pos., 4 poles, 16A, Central mount
Nov 3 2020 | ONU4PG | U4/8ZM/PG | Changeover switch, 3 pos., 4 poles, 16A, Central mount
Nov 3 2020 | ONU4RB | U4/8E/Z1 | Changeover switch, 3 pos., 4 poles, 16A, Door mount
Nov 3 2020 | ONU5PB | U5/8ZM/NS | Changeover switch, 3 pos., 5 poles, 16A, Central mount
Nov 3 2020 | ONU6PB | U6/8ZM/NS | Changeover switch, 3 pos., 6 poles, 16A, Central mount
Nov 3 2020 | ONUC3PB | WA-SON1769/8ZM/NS | Changeover switch, 3 pos., 3 poles, 16A, Central mount
Nov 3 2020 | ONUC4PB | WA-SON1770/8ZM | Changeover switch, 3 pos., 4 poles, 16A, Central mount
Nov 3 2020 | ONUR139M | WAH139/8T | Consult ITC
Nov 3 2020 | ONUR139PB | WAH139/8ZM/NS | Consult ITC
Nov 3 2020 | ONURR1M | URR1/8T | Changeover switch, 3 pos., 1 poles, 16A, DIN mount
Nov 1 2020 | ONURR1PB | URR1/8ZM/NS | Changeover switch, 3 pos., 1 poles, 16A, Central mount
Nov 1 2020 | ONURR2PB | URR2/8ZM/NS | Changeover switch, 3 pos., 2 poles, 16A, Central mount
Nov 3 2020 | ONURR3M | URR3/8T | Changeover switch, 3 pos., 3 poles, 16A, DIN mount
Nov 1 2020 | ONURR3PB | URR3/8ZM/NS | Changeover switch, 3 pos., 3 poles, 16A, Central mount
Nov 1 2020 | ONV30M | V30/8T | Voltmeter switch, 7 pos., 3 poles, 16A, DIN-rail mount mount
Nov 1 2020 | ONV30PB | V30/8ZM/NS | Voltmeter switch, 7 pos., 3 poles, 16A, Central mount
Nov 3 2020 | ONV30RB | V30/8E/Z1 | Voltmeter switch, 7 pos., 3 poles, 16A, Door mount
Nov 1 2020 | ONV32PB | V32/8ZM/NS | Voltmeter switch, 7 pos., 3 poles, 16A, Central mount
Nov 1 2020 | ONV3M | V3/8T | Voltmeter switch, 4 pos., 2 poles, 16A, DIN-rail mount mount
Nov 1 2020 | ONV3PB | V3/8ZM/NS | Voltmeter switch, 4 pos., 2 poles, 16A, Central mount
Nov 3 2020 | ONVA21PB | WA-SON1584/8ZM/Z51 | Consult ITC
Nov 1 2020 | ONVN30M | VN30/8T | Voltmeter switch, 6? pos., 3 poles, 16A, DIN-rail mount mount
Nov 1 2020 | ONVN30PB | VN30/8ZM/NS | Voltmeter switch, 7 pos., 3 poles, 16A, Central mount
Nov 1 2020 | ONVN3M | VN3/8T | Voltmeter switch, 3 pos., 2 poles, 16A, DIN-rail mount mount
Nov 1 2020 | ONVN3PB | VN3/8ZM/NS | Voltmeter switch, 3 pos., 2 poles, 16A, Central mount
Nov 1 2020 | ONW2PB | W2/8ZM/NS | Reversing switch, 3 pos., 3 poles, 16A, Central mount
Nov 3 2020 | ONW3EPB | W3/8PLM-25/NS/2xZ36 | Reversing switch, 3 pos., 3 poles, 16A, Enclosed mount
Nov 1 2020 | ONW3PB | W3/8ZM/NS | Reversing switch, 3 pos., 3 poles, 16A, Central mount
Nov 1 2020 | ONWC1PB | WS1/8ZM/Z11/NS | Changeover switch, 2 pos., 1 poles, 16A, Central mount
Nov 1 2020 | ONWC2PB | WS2/8ZM/Z11/NS | Changeover switch, 2 pos., 2 poles, 16A, Central mount
Nov 1 2020 | ONWC3PB | WS3/8ZM/Z11/NS | Changeover switch, 2 pos., 3 poles, 16A, Central mount
Nov 1 2020 | ONWC4PB | WS4/8ZM/Z11/NS | Changeover switch, 2 pos., 4 poles, 16A, Central mount
Nov 1 2020 | ONWS1PB | WS1/8ZM/NS | Changeover switch, 2 pos., 1 poles, 16A, Central mount
Nov 3 2020 | ONWS2M | WS2/8T | Changeover switch, 2 pos., 2 poles, 16A, DIN mount
Nov 1 2020 | ONWS2PB | WS2/8ZM/NS | Changeover switch, 2 pos., 2 poles, 16A, Central mount
Nov 1 2020 | ONWS36PB |  | Changeover switch, 3? pos., 3/6 poles, 16A, Central mount
Nov 1 2020 | ONWS3PB | WS3/8ZM/NS | Changeover switch, 2 pos., 3 poles, 16A, Central mount
Nov 1 2020 | ONWS4PB | WS4/8ZM/NS | Changeover switch, 2 pos., 4 poles, 16A, Central mount
Nov 1 2020 | ONWS5PB | WS5/8ZM/NS | Changeover switch, 2 pos., 5 poles, 16A, Central mount
Nov 3 2020 | ONWS6PB | WS6/8ZM/NS | Changeover switch, 2 pos., 6 poles, 16A, Central mount
Nov 3 2020 | ONX30 | TL.0131 | Spare Front plate
Nov 3 2020 | ONX99 | X99/D0 | Cover for central mounting, D0 size
Nov 2 2020 | OZ331PRY | WA-SON/ZM-Antrieb/Z33GB/1 | Padlockable handle red/yellow, 66x66mm.